south coast air quality management district

Final Environmental Assessment for:

Amended Rule 1110.2 – Emissions From Gaseous- and Liquid-Fueled Internal Combustion Engines and Rescission of Rule 1110.1 – Emissions from Stationary Internal Combustion Engines

May 12, 2005

SCAQMD No. 050318MK

Executive Officer
Barry R. Wallerstein, D.Env.

Deputy Executive Officer
Planning, Rule Development and Area Sources
Elaine Chang, DrPH

Assistant Deputy Executive Officer
Planning, Rule Development and Area Sources
Laki Tisopulos, Ph.D., P.E.

Planning and Rules Manager
Susan Nakamura

Author:	Michael Krause		Air Quality Specialist

Technical	Alfonso Baez, M.S.	Senior Air Quality Engineer

Assistance:	Howard Lange, Ph.D.	Air Quality Engineer II

Reviewed By: 	Steve Smith, Ph.D.	Program Supervisor

Martin Kay, P.E., M.S.	Program Supervisor

Frances Keeler		Senior Deputy District Counsel

South coast air quality management district

governing board

Chairman:	WILLIAM A. BURKE, Ed.D.

Speaker of the Assembly Appointee

Vice Chairman:	S. ROY WILSON, Ed.D.

Supervisor, Fourth District

Riverside County Representative

MEMBERS:

MICHAEL D. ANTONOVICH

Supervisor, Fifth District

Los Angeles County Representative

JANE CARNEY

Senate Rules Committee Appointee

BEATRICE J.S. LAPISTO-KIRTLEY

Mayor, City of Bradbury

Cities Representative, Los Angeles County, Eastern Region

RONALD O. LOVERIDGE

Mayor, City of Riverside

Cities Representative, Riverside County

GARY OVITT

Supervisor, Fourth District

San Bernardino County Representative

JAN PERRY

Councilmember, Ninth District

Cities Representative, Los Angeles County, Western Region

Miguel A. Pulido

Mayor, City of Santa Ana

Cities Representative, Orange County

JAMES SILVA

Supervisor, Second District

Orange County Representative

CYNTHIA VERDUGO-PERALTA

Governor's Appointee

DENNIS YATES

Mayor, City of Chino

Cities Representative, San Bernardino County

EXECUTIVE OFFICER:

BARRY R. WALLERSTEIN, D.Env.

Table of contents

CHAPTER 1 - PROJECT DESCRIPTION

Introduction 		1-1

Legislative Authority		1-2

California Environmental Quality Act		1-2

Project Location		1-3

Project Background		1-3

Project Objectives		1-7

Project Description		1-7

Affected Facilities and Engines		1-11

Emission Inventory and Reductions		1-12

Control Technologies		1-14

CHAPTER 2 - ENVIRONMENTAL CHECKLIST

Introduction			2-1

General Information		2-1

Environmental Factors Potentially Affected		2-2

Determination		2-2

Environmental Checklist and Discussion		2-4

APPENDIX A - Proposed Amended Rule 1110.2

List of Figures

Figure 1-1: South Coast Air Quality Management District		1-4

List of Tables

Table 1-1: Recent SCAQMD Compliance Testing of IC Engines		1-6

Table 1-2: Stationary Agricultural Engine Emissions Inventory
from Survey		1-13

Table 1-3: Projected Annual Emissions from Affected Agricultural
Sources and Estimated Emission Reductions from Removing
Exemption for Engines at Agricultural Operations		1-14

Table 1-4: NOx Control Technologies for Stationary SI Engines		1-15

Table 1-5: Anticipated Control Technologies for Agricultural Engine
 Compliance		1-17

Table 2-1: Air Quality Significance Thresholds		2-8

Table 2-2: Anticipated Daily Emission Reductions from Removing
 Exemption for Agricultural Engines		2-9

Table 2-3: Construction Emissions from Replacing Engine or Installing
 Control Equipment at Affected Agricultural Facilities		2-11

Table 2-4: Energy Impacts from PAR 1110.2		2-18

PREFACE

The Draft Environmental Assessment (EA) for the proposed amendments to Rule 1110.2 – Emissions From Gaseous- and Liquid-Fueled Internal Combustion Engines and Rescission of Rule 1110.1 – Emissions from Stationary Internal Combustion Engines was circulated for a 30-day public review and comment period from March 18, 2005 to April 19, 2005.  No public comment letters were received and minor modifications were made to the Draft EA so it is now a Final EA.  Deletions and additions to the text of the EA are denoted using strikethrough and underlined, respectively.  Changes to the project description are minor and do not change the conclusions made in the Draft EA or worsen the environmental impact analyzed in the Draft EA.  Pursuant to CEQA Guidelines §15073.5(c)(2), recirculation is not necessary since the information provided does not result in new avoidable significant effects.

C H A P T E R   1  -  P R O J E C T   D E S C R I P T I O N

Introduction

Legislative Authority

California Environmental Quality Act

Project Location

Project Background

Project Objectives

Project Description

Affected Facilities and Engines

Emission Inventory and Reductions

Control Technologies

# Introduction

Rule 1110.2 was adopted by the South Coast Air Quality Management District (SCAQMD) Governing Board in August 1990 to control nitrogen oxides (NOx), carbon monoxide (CO), and volatile organic compounds (VOC) from gaseous and liquid-fueled internal combustion (IC) engines.  For all stationary and portable engines over 50 brake horsepower (bhp), Rule 1110.2 currently requires that either 1) NOx emissions be reduced over 90 percent to one of two compliance limits specified by the rule, or; 2) the engines be permanently removed from service or replaced with electric motors.  All agricultural engines are currently exempt from the rule.

Rule 1110.1 was adopted October 2, 1984 and amended once in 1985.  The rule required existing engines over 50 bhp to submit a Control Plan to reduce emissions of air contaminants and placed limits on the concentration of NOx and CO.  All the compliance dates in the rule have been reached and now Rule 1110.1 is superceded by the requirements of Rule 1110.2.

Changes in legislation and findings in SCAQMD enforcement efforts have resulted in the proposed amendments to Rule 1110.2.  California Senate Bill 700 – Agricultural Air Quality (SB 700) was enacted into law on January 1, 2004, amending California Health and Safety Code (H&SC) to eliminate the exemption for certain large agricultural operations from the permit system of local air pollution control agencies.  Other sections added to H&SC require rules to be adopted to reduce emissions from conventional equipment located at agricultural facilities, like engines, and require Best Available Retrofit Control Technology (BARCT) to be installed to reduce the emissions.

During 2004, 127 emission tests of old and new engines driving compressors, pumps and electrical generators were conducted by the SCAQMD enforcement team during unannounced visits and 64 percent of the engines were out of compliance with Rule 1110.2 NOx and CO limits.

Thus, Rule 1110.2 is proposed to be amended to remove the exemption for all agricultural engines except emergency stand-by engines and engines powering orchard wind machines; add more monitoring, recordkeeping and reporting requirements to improve the compliance record of affected engines; prohibit the use of portable engine generators to supply power to the grid or to a building, facility, stationary source or stationary equipment except in an emergency affecting grid stability to be consistent with state directives; and remove outdated rule language.

Pursuant to the California Environmental Quality Act (CEQA) (California Public Resources Code §21000 et seq.), this Environmental Assessment (EA) includes an analysis of the potential adverse environmental impacts of implementing proposed amended Rule (PAR) 1110.2.  Rescinding Rule 1110.1 will generate no significant adverse impacts because it is superceded by the requirements of Rule 1110.2, thus, the rescission of Rule 1110.1 will not be analyzed any further in this EA.  The environmental analysis in Chapter 2 concluded that the proposed project will provide an overall air quality benefit and will result in no significant adverse impact on any other environmental topic.

# LEGISLATIVE AUTHORITY

The California Legislature created the SCAQMD in 1977 (Lewis-Presley Air Quality Management Act, California Health and Safety Code §§ 40400 et seq.) as the agency responsible for developing and enforcing air pollution control rules and regulations in the Basin and portions of the Salton Sea Air Basin and Mojave Desert Air Basin.  By statute, SCAQMD is required to adopt an air quality management plan (AQMP) demonstrating compliance with all state and federal ambient air quality standards for the District [California Health and Safety Code §40460(a)].  Furthermore, SCAQMD must adopt rules and regulations that carry out the AQMP [California Health and Safety Code, §40440(a)].  When originally adopted, Rule 1110.2 implemented an AQMP control measure.  The currently proposed amendments further the 2003 AQMP goals to achieve additional NOx emission reductions in the SCAQMD’s area of jurisdiction.  In addition, the proposed amendments to Rule 1110.2 will comply with California SB 700 by removing the exemption for agricultural engines.

# CALIFORNIA ENVIRONMENTAL QUALITY ACT

PAR 1110.2 is a "project" as defined by CEQA (California Public Resources Code §21080.5).  SCAQMD is the lead agency for the proposed project and has prepared appropriate environmental analysis pursuant to its certified regulatory program (SCAQMD Rule 110).  California Public Resources Code §21080.5 allows public agencies with regulatory programs to prepare a plan or other written document in lieu of an environmental impact report (EIR) once the Secretary of the Resources Agency has certified the regulatory program.  The SCAQMD’s regulatory program was certified by the Secretary of the Resources Agency on March 1, 1989, and is codified as SCAQMD Rule 110.

CEQA requires that the potential adverse environmental impacts of proposed projects be evaluated and that feasible methods to reduce or avoid significant adverse environmental impacts of these projects be identified.  To fulfill the purpose and intent of CEQA, the SCAQMD has prepared this EA to address the potential adverse environmental impacts associated with adopting and implementing PAR 1110.2.  This Final Draft EA is intended to: (a) provide the lead agency, responsible agencies, decision makers and the general public with detailed information on the environmental effects of the proposed project; and, (b) to be used as a tool by decision makers to facilitate decision making on the proposed project.

No All comments were received during the public comment period on the analysis presented in the Draft EA, and minor modifications were made to the Draft EA so it is now a will be responded to and included in the Final EA.  Prior to making a decision on the proposed amended rule, the SCAQMD Governing Board must review and certify the EA as providing adequate information on the potential adverse environmental impacts of the proposed amended rule.

SCAQMD’s review of the proposed project shows that the project would not generate significant adverse effects on the environment.  Therefore, pursuant to CEQA Guidelines §15252, no alternatives or mitigation measures are included in this Final Draft EA.  The analysis in Chapter 2 supports the conclusion of no significant adverse environmental impacts.

# project location

PAR 1110.2 would apply to the SCAQMD’s entire jurisdiction.  The SCAQMD has jurisdiction over an area of 10,473 square miles (referred to hereafter as the district), consisting of the four-county South Coast Air Basin (Basin) and the Riverside County portions of the Salton Sea Air Basin (SSAB) and the Mojave Desert Air Basin (MDAB).  The Basin, which is a subarea of the SCAQMD’s jurisdiction, is bounded by the Pacific Ocean to the west and the San Gabriel, San Bernardino, and San Jacinto Mountains to the north and east.  The 6,745 square-mile Basin includes all of Orange County and the nondesert portions of Los Angeles, Riverside, and San Bernardino counties.  The Riverside County portion of the SSAB and MDAB is bounded by the San Jacinto Mountains in the west and spans eastward up to the Palo Verde Valley.  The federal nonattainment area (known as the Coachella Valley Planning Area) is a subregion of both Riverside County and the SSAB and is bounded by the San Jacinto Mountains to the west and the eastern boundary of the Coachella Valley to the east (Figure 1-1).

# Project Background

Rule 1110.1

Rule 1110.1 was adopted October 2, 1984 and amended once in 1985.  The rule required existing engines over 50 bhp to submit a Control Plan to reduce emissions of air contaminants and placed limits on the concentration of NOx and CO.  All the compliance dates in the rule have been reached and now Rule 1110.1 is superceded by the requirements of Rule 1110.2.

Figure 1-1

South Coast Air Quality Management District

Rule 1110.2

Rule 1110.2 was adopted in August 1990 to control NOx, CO, and VOC from gaseous and liquid-fueled internal combustion engines.  For all stationary and portable engines over 50 bhp, Rule 1110.2 requires that either 1) NOx emissions be reduced over 90 percent to one of two compliance limits specified by the rule, or; 2) the engines be permanently removed from service or replaced with electric motors.  Rule 1110.2 was amended in September 1990 to clarify rule language and was amended in August and December of 1994 to modify the CO monitoring requirements and to clarify rule language.  The latest amendment in November, 1997, eliminated the requirement for continuous monitoring of CO, reduced the source testing requirement from once every year to once every three years, and exempted non-road engines, including portable engines.  All agricultural engines are currently exempt from the rule.

California Senate Bill (SB) 700

Agricultural operations represent a significant source of air pollution throughout the state.  IC engines are major contributors of NOx, VOC and CO emissions to the atmosphere.  Survey results indicate that substantial annual NOx emissions are emitted by agricultural engines (spark-ignited and the majority of which are believed to be diesel-fueled).

Prior to the passage of SB 700, California state law exempted equipment used at agricultural facilities from the permit system of local air pollution control agencies.  Equipment used at agricultural facilities represents a significant source of air pollution throughout the state.  With the exemption from permitting, agricultural facilities were not included in the state’s Title V permitting program required by the Federal Clean Air Act.

The United States Environmental Protection Agency (USEPA) proposed disapproving the state’s Title V permitting program because of the exemption and the significant source of air pollution that agricultural operations represent.  SB 700 was adopted to harmonize state and federal permitting requirements and to recognize the contribution to the air pollution problem that agricultural operations represent.  To avoid federal sanctions, on September 22, 2003, Governor Davis signed SB 700, which revised state law to remove the agricultural permitting exemption.  In addition to correcting the deficiencies cited by USEPA, SB 700 mandates new permitting and pollution control requirements for agricultural sources in California and requires that agricultural sources be treated similar to other sources of air pollution.

SB 700 requires that the air pollution control agency for each area that is designated a serious federal non-attainment area for an applicable ambient air quality standard to adopt, implement, and submit for inclusion in the state implementation plan (SIP) by the earliest feasible date but no later than January 1, 2006, a rule or regulation requiring Best Available Control Measures (BACM) or BARCT for agricultural sources of air pollution to reduce air pollutants from those sources where pollution control technology is available and is applicable to agricultural practices.  SB 700 also requires each agency subject to those requirements to comply with a schedule for public hearing, adoption, and implementation of the final rule.

The bill removes the exemption from SCAQMD permitting requirements for agricultural sources at larger agricultural facilities.  The bill further provides that equipment at smaller facilities may be subject to permitting requirements provided the air pollution control agency makes the necessary findings in a public hearing.

Compliance Record

Rich-burn engines typically use a three-way catalyst to achieve low NOx levels in compliance with the permit conditions and applicable rules.  They have demonstrated very low NOx emissions based on initial compliance tests and follow-up tests required every three years by Rule 1110.2.  However, these source tests are generally conducted after the engine has been tuned and pre-tested for emissions, and only at one load under steady state conditions.  As a result, source tests almost always show compliance. If the test shows non-compliance, only major sources are required to report the results to SCAQMD.

Excess emissions found in testing engines during the three-year period not requiring testing have found fault with items such as bad spark plugs, spark plug wires, failed O2 sensors, plugged up/deactivated catalysts, degrading catalysts and failed air/fuel ratio controller.  In the past year, SCAQMD enforcement personnel acquired portable analyzers capable of measuring NOx, CO and O2 concentrations in the exhaust of combustion equipment during unannounced visits.  These emission tests have shown that IC engines, no matter whether they are driving pumps, compressors or electrical generators, have a 63.8 percent non-compliance rate and very high excess emissions (Table 1-1).  As of December 31, 2004, 127 emission tests with portable analyzers have been conducted on I.C. engines driving electrical generators, compressors and pumps.  The engines all are natural gas fired and all but one have three-way catalytic emission controls.  The engines include a combination of older and new units.  The average NOx emissions were about two times higher than Rule 1110.2 emission limits.  The highest emissions measured were about 20 times more than the NOx limits and six times the CO limits.  Results of the emission testing are summarized in Table 1-1.

Table 1-1

Recent SCAQMD Compliance Testing of IC Engines

|  | NOx | CO |
| --- | --- | --- |
| Current Rule 1110.2 NOx Compliance Limits (ppm)a | 36-45 | 2000 |
| Average NOx Limit from Tested Engines (ppm) | 72 | 732 |
| Maximum NOx Limit from Tested Engines (ppm) | 850 | 12,500 |
| Overall Non-Compliance with Permit Limits (percent) | 63.8 b |  |

- All dry, by volume, and corrected to 15% O2 averaged over 15 minutes.

- 81 of the 127 emission tests exceeded the applicable NOx emission limit.

Portable Engines

H&SC §§41750-41755 (Assembly Bill 531), adopted in  1995 and effective January 1, 1996, require the California Air Resources Board (CARB) to adopt regulations to establish a statewide registration program for portable engines and other equipment.  The statewide registration program for portable engines was codified into Rule 2100 – Registration of Portable Equipment, and adopted by the SCAQMD Governing Board in December 1995.  The regulation was adopted on March 27, 1997 by the CARB Board.  Portable engine owners or operators may register under the statewide program or permit with the SCAQMD.  Those that register with CARB are exempt from SCAQMD permits and emission requirements.

Presently, CARB's statewide portable equipment registration program (PERP) has an exemption/prohibition for agricultural portable equipment.  CARB's PERP regulation prohibits operators of agricultural portable equipment from registering under PERP, unless a local air pollution control agency adopts or amends its rules to allow state registration in lieu of local permits.  Sources may still need to comply with applicable rules, such as 1110.2, even if permits are not required.

# Project Objectives

The objectives of PAR 1110.2 are to:

- Comply with the provisions of SB 700 by eliminating the exemption for agricultural engines.

- Enhance the compliance record of engines by adding more monitoring, reporting and recordkeeping requirements.

- Provide consistency with state directives regarding the prohibited use of portable engine generators to supply power to the grid or to a building, facility, stationary source or stationary equipment except in an emergency affecting grid stability.

- Clarifying rule language.

# PROJECT DESCRIPTION

PAR 1110.2 is composed of the following detailed components, listed in the order they appear in the rule.  The complete proposed amended rule can be found in Appendix A.

#### (a)	Purpose

No proposed modification to this subdivision of the rule.

#### (b)	Applicability

No proposed modification to this subdivision of the rule.

(c)	Definitions

- Definition for “Agricultural Stationary Engine” [paragraph (c)(1)] has been added to describe the newly affected stationary agricultural engines.

- Definition for “Approved Emission Control Plan” [paragraph (c)(2)] has been modified to add the deadline for submitting a control plan.

- Definition for “Certified Spark-Ignition Engines” [paragraph (c)(3)] has been added to describe what qualifies as a certified spark-ignited engine.

- Definition of “Facility” [paragraph (c)(7)] has been modified to be consistent with the definition of “facility” in SCAQMD New Source Review Rule 1302 – Definitions.

- Definitions for “Non-Road Engine” [paragraph (c)(7)] and “Rule 1110.1 Emission Control Plan” [paragraph (c)(9)] has have been deleted because the definitions are no longer needed since they apply to parts of the rule whose compliance dates have passed and Rule 1110.1 which is being rescinded.

- Definition of “Stationary Engine” [paragraph (c)(11)] has been modified to clarify that an engine is considered stationary if it does not meet the definition of a portable engine.

- Definition for “Tier 2 and Tier 3 Diesel Engines” [paragraph (c)(12)] has been added to describe what qualifies as a Tier 2 or Tier 3 diesel engine.

- Definition of “Volatile Organic Compound (VOC)” [paragraph (c)(13)] has been modified to be consistent with the definition of VOC in SCAQMD General Provisions Rule 102 – Definition of Terms.

(d)	Requirements

- Move the emission limits of stationary engines with an approved emission control plan designating the permanent removal of engines or replacement with electric motors from subdivision (e) – Compliance to the subdivision (d) – Requirements and convert the limits from grams per bhp-hour to parts per million (ppm) to facilitate recordkeeping and used a typical engine mechanical efficiency of 30 percent to convert.  [subparagraph (d)(1)(A)]

- Add requirement for new engines subject to the compliance schedule for agricultural stationary engines to comply with the requirements of BACT if a permit is required or not operate the engine that exceed Table I emission limits if a permit is not required.  [subparagraph (d)(1)(D)]

- Modify language regarding portable engines to simplify further define portable engines as portable engine generators. [paragraph (d)(2)]

- Modify language to prohibit use of portable engine generators to supply power to the grid or to a building, facility, stationary source or stationary equipment except in an emergency affecting grid stability or availability, during maintenance and repair operations or in remote locations where grid power is unavailable. [subparagraphs (d)(2)(A), (d)(2)(B)]

(e) 	Compliance

- Remove obsolete requirement pertaining to compliance dates that have passed.  [paragraphs (e)(1) and (e)(2)]

- Provide a schedule for existing stationary agricultural engines to come into compliance with the rule based on whether the engine is Tier 2, Tier 3, certified spark-ignited or other.  The compliance schedule outlines deadlines for required actions including notification of applicability, submittal of permit applications, initiation and completion of construction, as well as completion of initial source testing. [subparagraphs (e)(21)(A) and subparagraph (e)(21)(B)]

(f) 	Monitoring, Testing and Recordkeeping

- Remove references to requirements elsewhere in the rule proposed to be deleted. [paragraph (f)(1)]

- Clarify language by adding references to Code of Federal Regulations.  [clause (f)(1)(A)(i)]

- Allow annual continuous emissions monitoring system (CEMS) relative accuracy test to satisfy triennial source test requirement for those pollutants monitored by a CEMS. [subparagraph (f)(1)(C)]

- Modify reporting requirements for facilities subject to Regulation XX to maintain a quarterly log for engines that are designated as a process unit on a facility permit. [subparagraph (f)(1)(D) and paragraph (f)(2)]

- Add recordkeeping requirement to maintain all data, logs, test reports and other information for at least five years and make available for inspection by the Executive Officer.  [paragraph (f)(3)]

- Test Methods

- Replace the EPA test methods with SCAQMD test Methods in Table VI and modify the footnote for SCAQMD VOC Test Method 25.1 and 25.3 to add methane to the exclusion for ethane.  [subdivision (g)]

(h) 	Technology Assessment for PM2.5

- Remove the outdated requirement, which was completed, to conduct a technology assessment by December 31, 1999. [subdivision (h)]

(h) 	Exemptions

- Remove exemption for all agricultural engines and replace with an exemption for orchard wind machines powered by an IC engine.  [paragraph (h)(1)]

- Modify language to change the limitation on annual operation of emergency standby engines from “less than 200 hours” to “200 hours or less” to be consistent with Rule 1304 (a)(4). [paragraph (h)(2)]

- Modify the language regarding the jurisdiction area subject to Rule 1110.2 to reflect the latest name changes of certain areas.  [paragraph (h)(6)]

- Revise the language to refer to the actual portable engine registration regulation in the California Code of Regulations and remove the authorizing regulation in the California H&S Code.  [paragraph (h)(9)]

- Remove the exemption for nonroad engines that are portable generators used for power production into the electric grid or as a primary or secondary power source for a facility or equipment in accordance with subparagraph (d)(2)(B). [paragraph (h)(10)].

For a complete description of PAR 1110.2, the reader is referred to Appendix A of this Final Draft EA.

# affected Facilities and ENGINES

IC Engines at Rule 1110.2 Facilities

Approximately 1000 facilities are currently subject to Rule 1110.2 which applies to stationary and portable engines over 50 bhp.  IC Engines generate power by combustion of an air/fuel mixture.  In the case of spark-ignited (SI) engines, a spark plug ignites the air/fuel mixture while a diesel engine relies on heating of the inducted air during the compression stroke to ignite the injected diesel fuel.  Most stationary and portable IC engines are used to power pumps, compressors, or electrical generators.

SI engines come in a wide variety of designs such as: two stroke and four stroke, rich-burn and lean burn, turbocharged and naturally aspirated.  SI engines can use one or more fuels, such as natural gas, oil field gas, digester gas, landfill gas, propane, butane, liquefied petroleum gas (LPG), gasoline, methanol and ethanol.  IC engines can be used in a wide variety of operating modes such as:  Emergency operation (i.e. used only during testing, maintenance, and emergencies), seasonal operation, continuous operation, continuous power output, and cyclical power output.

Uncontrolled engines, even when burning a clean fuel such as natural gas, have high emissions of NOx, CO and HC.  Diesel engines not only emit NOx emissions but also emit particulate matter (PM), which has been identified as a toxic air contaminant (TAC) by the CARB.  Once a substance is identified as a TAC, the CARB is required by law to determine if there is a need for further control.  CARB recently approved an airborne toxic control measure (ATCM) for stationary and portable diesel engines.  CARB is currently developing an ATCM for in-use stationary diesel agricultural engines.

Agricultural Operation Survey and the IC Engines at Agricultural Facilities

Limited data are available on the emission inventory for internal combustion engines used at agricultural operations in the district.  For this reason and as part of the effort to implement the requirements of SB700 for agricultural sources in district, staff developed a one page survey form that was mailed out to a total of 1,925 agricultural operations in April and June 2004.  The survey consisted of nine "yes/no/how many?" type questions regarding size of dairy or poultry farm and the type of equipment that would normally be found at agricultural operations such as IC engines, boilers, heaters, gasoline dispensing/storage, grain conveyors/silos, degreasers and paint spray equipment.  To maintain integrity and confidentiality, as well as improve response rate, the mailing address lists were not made available to the SCAQMD, but rather the survey was provided directly to clearinghouse mailing serviceby the contacted associations (Western United Dairymen, Pacific Egg and Poultry Association, Los Angeles County Farm Bureau, San Bernardino County Farm Bureau, Orange County Farm Bureau, Riverside County Farm Bureau and other agricultural groups) and the Regional Water Quality Control Boards that recently passed rules regarding dairy runoff.

As of December 2004, 885 survey forms were responded to and returned to the SCAQMD.  Of the 885 surveys returned, 21 were blank responses, 44 were return to sender, 18 were relocated out of the district, 67 were out of business, 262 identified no affected equipment onsite and 473 provided equipment information regarding their agricultural operations.  Excluding the 21 blank responses, the remaining responses provided information reflecting the current agricultural operations in the district (some facilities have affected equipment, some do not have affected equipment, some have relocated and some are out of business.), therefore, 864 surveys out of the 1,925 agricultural operations constitute a useful 45 percent response rate.  Of the 473 surveys, 17 facilities reported using 8 stationary and 5 portable IC engines to power irrigation pumps, 11 stationary and 6 portable IC engines used to power well/water pumps, and one stationary IC engine to power cattle feed mixer.  Since PAR 1110.2 would exempt emergency stand-by engines and orchard wind machines, and has no emission limit requirements on portable engines, only stationary irrigation pumps, well/water pumps and other non-exempt engines will be included in the emissions inventory.  Once portable engines were removed from the inventory, only 12 facilities were determined to operate approximately 20 stationary IC engines potentially affected by PAR 1110.2. Follow-up contacts with potentially affected facilities that responded to the survey indicated that all existing stationary spark ignited engines and most stationary diesel engines are uncontrolled.

Emission Inventory and reductions

Rule 1110.2 is applicable to all stationary and portable engines over 50 bhp.  NOx, VOC and CO emissions have been substantially reduced from these engines since the rule was adopted in 1990.  According to the 1990 staff report for the proposed rule, Rule 1110.2 would reduce NOx emissions generated by 1,289 affected stationary, non-emergency engines from 28 tons per day of NOx to 2.9 tons per day of NOx.  Since the proposed amendments to Rule 1110.2 will achieve further emission reductions from the removal of the exemption for stationary IC engines at agricultural operations, emission inventory and emission reductions outlined in the following subsections will focus on stationary IC engines at affected agricultural operations.  While changes to the recordkeeping and monitoring requirements will improve rule compliance from the affected engine operations, they will not generate emission reductions.

Emission Inventory of IC Engines at Agricultural Facilities

As noted in the “Affected Facilities and Engines” section, agricultural operational survey determined 12 agricultural facilities operate 20 stationary IC engines potentially affected by PAR 1110.2.  Based on the results of the agricultural operations survey and other information provided by agricultural associations and trade groups the uncontrolled emissions inventory was determined and is presented in Table 1-2.

Table 1-2

Stationary Agricultural Engine Emissions Inventory from Survey

| Agricultural Operation Engine Type | Number of Engines | ESTIMATED ANNUAL EMISSIONS (tons per year) |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | NOx | VOC | CO | PM |
| Irrigation Pumps | 8 | 14.1 | 1.10 | 3.73 | 0.975 |
| Well/Water Pumps | 11 | 56.4 | 2.79 | 48.8 | 2.42 |
| Other Engines | 1 | 1.14 | 0.164 | 1.40 | 0.0658 |
| TOTAL | 20 | 71.6 | 4.05 | 53.9 | 3.46 |

Because the emission inventory in Table 1-2 is the result of a survey with a 45 percent survey response rate, actual affected number of facilities, engines and emissions are anticipated to be approximately double these values.  To more accurately represent the entire agricultural engine inventory, the following assumptions are made regarding the estimated emissions inventory:

1.	To characterize emissions for the entire universe of engines, emissions from the survey responses were doubled.

2.	Facility characteristics (some have engines, some have no equipment, some are out of business or relocated, etc) from the surveys are representative of the entire universe of sources.

Projecting that operators of 12 agricultural facilities were determined to operate 20 stationary IC engines represent half of the affected industry, it is anticipated 24 agricultural facilities with approximately 40 stationary IC engines would be affected by PAR 1110.2.

The emission reductions for the proposed amendments to Rule 1110.2 are estimated based on the difference between current uncontrolled emissions and the ending emissions when BARCT requirements are fully implemented.  Current uncontrolled emissions are the estimated emissions inventory from approximately 40 affected stationary agricultural engines.  Ending emissions are based on the NOx, VOC and CO limits of Rule 1110.2 or 45 ppm NOx, 250 ppm VOC and 2000 ppm CO.  Similarly, PM reductions are based on the difference between current uncontrolled emissions and the ending emissions when BARCT requirements are fully implemented.  The estimated emission reductions from removing the exemption for engines at agricultural operations are summarized in the Table 1-3 below.

Table 1-3

Projected Annual Emissions from Affected Agricultural Sources and Estimated Emission Reductions from Removing Exemption for Engines at Agricultural Operations

| Agricultural Operation Engine Type | Number of Engines | PROJECTED ANNUAL EMISSIONS (tons per year) |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | NOx | VOC | CO | PM |
| Irrigation Pumps | 16 | 28.2 | 2.20 | 7.46 | 1.95 |
| Well/Water Pumps | 22 | 113 | 5.58 | 97.6 | 4.84 |
| Other Engines | 2 | 2.28 | 0.328 | 2.80 | 0.132 |
| TOTAL | 40 | 143 | 8.11 | 108 | 6.92 |
|  |  | ESTIMATED EMISSION REDUCTIONS (tons per year) |  |  |  |
| Irrigation Pumps | 16 | 28.0 | 2.16 | 5.86 | 1.93 |
| Well/Water Pumps | 22 | 112 | 5.55 | 92.4 | 4.80 |
| Other Engines | 2 | 2.22 | 0.277 | 0.78 | 0.107 |
| TOTAL | 40 | 142 | 7.99 | 99 | 6.84 |
| Overall Percent Reduction |  | 99 | 98 | 92 | 99 |

Control technologies

Stationary agricultural engines subject to PAR 1110.2 are classified into two major categories: (1) compression ignition, i.e., diesel-fueled, engines and (2) SI engines, which may be fueled by propane, natural gas or gasoline.  Since agricultural engines have heretofore been unregulated, most will have no emission controls.  Owners of these engines will in most cases have to install emission controls or replace the engine in order to meet the rule requirements [paragraph (d)(1)].

Diesel Fueled Engine Emission Control Technologies

Add-on control technologies that are suitable for diesel engines include selective catalytic reduction (SCR) of NOx and oxidation catalyst for reduction of CO and VOC.  Both of these technologies have been successfully applied to diesel engines.  SCR involves injection of urea or ammonia into the exhaust flue gas upstream of the catalyst to control NOx emissions. The ammonia to be used in the SCR unit is expected to be aqueous consisting of 19 percent ammonia.  NOx, ammonia, and oxygen react on the surface of the catalyst to form nitrogen and water.  Application of these technologies to large diesel engines in the district have achieved 90 percent NOx emission reductions, 99 percent CO emission reductions and 74 percent VOC emission reductions.

Emulsified fuel is another technology that can be applied to a stationary diesel engine.  Emulsified fuel contains water, which has been blended into the fuel using appropriate blending equipment and an additive to create a stable mixture.  Separation of the water can, however, occur if the fuel is in storage for too long.  Presence of water in the fuel improves combustion while also lowering the flame temperature.  Emulsified fuel has been applied primarily to road diesel engines and primarily for reduction of PM emissions.  It also reduces NOx emissions by 10-20 percent.

Spark-Ignited (SI)/ Natural Gas Fueled Engine Emission Control Technologies

SI engines fall into two major design categories.  One is four-stroke rich-burn engines, which are designed to draw the correct amount of air to combust the fuel.  These engines operate with exhaust gas O2 content near zero.  The other category is four-stroke lean-burn engines, which are designed to draw substantially more air than is required for combustion and operate with a high level of exhaust gas O2, typically 15 percent.  Larger engines tend to be lean-burn, and smaller engines tend to be rich-burn.

In November 2001, CARB published a RACT/BARCT determination for stationary SI engines.  This determination, while not aggressive for CO or VOC, identified a number of NOx control technologies that are effective for stationary SI engines (Table 1-4).  Agricultural SI engines that would be regulated by PAR 1110.2 will in most cases have none of the emission controls listed in Table 1-4.

Table 1-4

NOx Control Technologies for Stationary SI Engines

| Control Technology | NOx Control Efficiency (percent) | Comments |
| --- | --- | --- |
| Ignition Timing Retard | 15-30 | Reduces efficiency by up to 5% |
| Pre-Stratified Charge (PSC) | 80+ | Not suitable for lean-burn engines |
| Low-Emission Combustion Modifications | 80+ | Pre-combustion chamber, ignition system improvement, turbocharger, air/fuel ratio control system. Retrofit kits are available for some engines. |
| Turbocharger with Aftercooler | 3-35 |  |
| Exhaust Gas Recirculation (EGR) | 30 |  |

Table 1-4 (concluded)

NOx Control Technologies for Stationary SI Engines

| Control Technology | NOx Control Efficiency (percent) | Comments |
| --- | --- | --- |
| Non-selective Catalytic Reduction (NSCR) | 90+a | Three-way catalyst—reduces NOx, CO and VOC. Not suitable for lean-burn engines. |
| Selective Catalytic Reduction (SCR) | 80+ | Requires injection of urea or ammonia to react with NOx. Unreacted ammonia is emitted. Oxidation catalyst is normally included to reduce CO and VOC emissions. |

a. California Air Resources Board, Determination of Reasonably Available Control Technology (RACT), November 2001

Generally, most engines manufactured today do not meet the emission limits in Rule 1110.2 without additional control equipment.  The emission rating of the engine will determine the amount of reduction necessary to comply with the rule requirements which would dictate the most appropriate control technology.  The “worst-case” scenario is that the agricultural engines will need the most emission reductions and, therefore, would require a high NOx emission reduction control technology.  For this analysis it is assumed that SI engines are rich-burn and will comply with the installation of non-selective catalytic reduction (NSCR) which is a three-way catalyst.  The three-way catalyst is a corrugated base metal substrate with an alumina wash coat loaded with precious metals such as platinum, palladium, and rhodium.  The alumina is porous allowing for large surface areas to promote a reducing reaction of incompletely combusted NOx, thus eliminating most of the NOx.  The catalyst also promotes oxidation of any unreacted CO and hydrocarbons with small amounts of oxygen remaining in the exhaust gas.  The success of this process is strongly dependent upon maintaining the air/fuel ratio within a very narrow range to achieve optimum amounts of CO, hydrocarbons and oxygen in the exhaust.  For this reason, the engine air/fuel ratio must be regulated by an air/fuel ratio controller (AFRC), which regulates a fuel valve based on a continuous measurement of the exhaust gas O2 content using an O2 sensor.  The size of the three-way catalyst varies depending on the engine bhp size for which it is controlling.  Manufacturers estimate a NSCR for a 100 bhp engine would require a horizontal five-foot by one-half-foot catalyst including its housing, and 700 bhp engine would require a horizontal six-foot by two-foot catalyst including housing.  Most catalysts can be retrofitted onto the engine without disruption of the existing design configuration.

Other Technology Options

For some stationary agricultural engines affected by the proposed Rule 1110.2 amendment, other options may be more cost effective or feasible than adding control equipment to the existing engine to bring the engine into compliance with the proposed amendments.  Other compliance options include replacing the engine with a lower-emission model or an electric motor, which would result in 100 percent emission reduction. In an engine replacement, only the engine needs to be replaced, and the balance of system remains the same.  Repowering is most likely to be needed for diesel engines.  While it may be possible to bring a diesel engine into compliance with the proposed amended rule by upgrading to a newer model and/or adding retrofit emission control technologies, it may be less costly and/or more amenable to site conditions to repower.  Repowering options for a diesel engine consist of a SI engine equipped with a three way catalyst and air/fuel ratio controller, or an electric motor.  Repowering with a SI engine will require that the fueling system also be replaced.  Repowering with an electric motor will require installation of electrical line from the nearest source of power with sufficient voltage and current capability.

Control Technologies Anticipated for Agricultural Engine Compliance

It is anticipated that the approximately 24 engines at affected agricultural operations which operate at higher number of hours will electrify because it would be a cost effective and feasible method to comply with Rule 1110.2 stationary engine emission limits.  The remaining estimated 16 engines operate at lower hours (<1500 hours per year) and, thus, would likely install a control device, such as a NSCR, to comply by the January 1, 2010, or January 1, 2008, deadline depending on the engine type.  Source testing and compliance with the rule limits should be complete by March 1, 2010 for Tier 2 or Tier 3 diesel engines.

Table 1-5

Anticipated Control Technologies for Agricultural Engine Compliance

| Agricultural Operation Engine Type | Estimated Number of Affected Engines | Operating Hours per Year | Anticipated Control Technology |  |
| --- | --- | --- | --- | --- |
| Irrigation Pumps | 16 | >3000 | Electrification |  |
|  | 6 | <1500 | NSCR |  |
| Well/Water Pumps | 8 | >1600 | Electrification |  |
|  | 8 | <600 | NSCR |  |
| Other Engines | 2 | <1100 | NSCR |  |
| TOTAL | 40 |  | 24 Electrification | 16 NSCR |

C H A P T E R   2  -  E N V I R O N M E N T A L   C H E C K L I S T

Introduction

General Information

# Environmental Factors Potentially Affected

Determination

Environmental Checklist and Discussion

# INTRODUCTION

The environmental checklist provides a standard evaluation tool to identify a project's adverse environmental impacts.  This checklist identifies and evaluates potential adverse environmental impacts that may be created by the PAR 1110.2 – Emissions From Gaseous- and Liquid-Fueled Internal Combustion Engines.

# GENERAL INFORMATION

| Project Title: | Proposed Amended Rule 1110.2 – Emissions From Gaseous- and Liquid-Fueled Internal Combustion Engines and Rescission of Rule 1110.1 – Emissions from Stationary Internal Combustion Engines |
| --- | --- |
| Lead Agency Name: | South Coast Air Quality Management District |
| Lead Agency Address: | 21865 Copley Drive Diamond Bar, CA 91765 |
| CEQA Contact Person: | Michael A. Krause (909) 396-2706 |
| Rule Contact Person: | Marty Kay (909) 396-3115 |
| Project Sponsor's Name: | South Coast Air Quality Management District |
| Project Sponsor's Address: | 21865 Copley Drive Diamond Bar, CA 91765 |
| General Plan Designation: | Not applicable |
| Zoning: | Not applicable |
| Description of Project: | Proposed amendments to Rule 1101.2 include: removing exemption for all agricultural engines except emergency standby engines and engines powering orchard wind machines; adding more recordkeeping requirements; prohibiting use of portable engine generators to supply power to the grid or to a building, facility, stationary source or stationary equipment except in an emergency affecting grid stability; and removing outdated rule language. Rule 1110.1 will be rescinded because it is superceded by the requirements of Rule 1110.2. |
| Surrounding Land Uses and Setting: | Not applicable |
| Other Public Agencies Whose Approval is Required: | Not applicable |

# environmental factors POTENTIALLY Affected

The following environmental impact areas have been assessed to determine their potential to be affected by the proposed project.  None of the environmental topics are expected to be adversely affected by the proposed project.  An explanation relative to the determination of impacts can be found following the checklist for each area.

|  | Aesthetics |  | Geology and Soils |  | Population/ Housing |
| --- | --- | --- | --- | --- | --- |
|  | Agricultural Resources |  | Hazards and Hazardous Materials |  | Public Services |
|  | Air Quality |  | Hydrology and Water Resources |  | Recreation |
|  | Biological Resources |  | Land Use and Planning |  | Solid/Hazardous Waste |
|  | Cultural Resources |  | Mineral Resources |  | Transportation/Circulation. |
|  | Energy |  | Noise |  | Mandatory Findings |

# DETERMINATION

On the basis of this initial evaluation:

|  | I find the proposed project, in accordance with those findings made pursuant to CEQA Guideline §15252, COULD NOT have a significant effect on the environment, and that an ENVIRONMENTAL ASSESSMENT with no significant impacts will be prepared. |
| --- | --- |
|  | I find that although the proposed project could have a significant effect on the environment, there will NOT be significant effects in this case because revisions in the project have been made by or agreed to by the project proponent. An ENVIRONMENTAL ASSESSMENT with no significant impacts will be prepared. |
|  | I find that the proposed project MAY have a significant effect(s) on the environment, and an ENVIRONMENTAL ASSESSMENT will be prepared. |
|  | I find that the proposed project MAY have a "potentially significant impact" on the environment, but at least one effect 1) has been adequately analyzed in an earlier document pursuant to applicable legal standards, and 2) has been addressed by mitigation measures based on the earlier analysis as described on attached sheets. An ENVIRONMENTAL ASSESSMENT is required, but it must analyze only the effects that remain to be addressed. |
|  | I find that although the proposed project could have a significant effect on the environment, because all potentially significant effects (a) have been analyzed adequately in an earlier ENVIRONMENTAL ASSESSMENT pursuant to applicable standards, and (b) have been avoided or mitigated pursuant to that earlier ENVIRONMENTAL ASSESSMENT, including revisions or mitigation measures that are imposed upon the proposed project, nothing further is required. |

Date  March 18, 2005	 	Signature: 			
			Steve Smith, Ph.D.	
			Program Supervisor

Planning, Rule Development & Area Sources

# ENVIRONMENTAL CHECKLIST AND DISCUSSION

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| I. AESTHETICS. Would the project: |  |  |  |
| - Have a substantial adverse effect on a scenic vista? |  |  |  |
| - Substantially damage scenic resources, including, but not limited to, trees, rock outcroppings, and historic buildings within a state scenic highway? |  |  |  |
| - Substantially degrade the existing visual character or quality of the site and its surroundings? |  |  |  |
| - Create a new source of substantial light or glare which would adversely affect day or nighttime views in the area? |  |  |  |

# Significance Criteria

The proposed project impacts on aesthetics will be considered significant if:

The project will block views from a scenic highway or corridor.

The project will adversely affect the visual continuity of the surrounding area.

The impacts on light and glare will be considered significant if the project adds lighting which would add glare to residential areas or sensitive receptors.

# Discussion

- a), b) & c):  PAR 1110.2 will remove the exemption for all agricultural engines except those powering orchard wind machines; add more recordkeeping requirements; and prohibit use of portable engine generators to supply power to the grid or to a building, facility, stationary source or stationary equipment except in an emergency affecting grid stability.  The proposed rule amendments will require previously exempted engines at agricultural operations to comply with an emission standard requiring either an engine replacement with a cleaner engine or an electric motor or the installation of a control device such as a three-way catalyst.  No major construction activities, such as demolition, grading or paving, are expected since the engine replacement or control device installation will occur at existing established facilities.  The electric motor is not expected to be larger in size than the existing diesel or natural gas engine that it will be replacing.  However, the electrical lines are expected to require electrical poles to be installed at facilities lacking the necessary power input.  Further, while the size of the catalyst and its housing varies with the size of the engine for which it is controlling, the NSCR is not expected to require any substantial additional space than what is currently allocated for the existing diesel or natural gas engine.  For example, a 100 bhp engine would require a five-foot by one-half-foot catalyst including the housing, while a 700 bhp engine would require a catalyst sized at six feet by two feet.  No other physical changes to existing facilities where the engines are operating are expected from the proposed project.  Because of the minimal construction and material needed, stockpiling of construction materials is not anticipated from the proposed project.  The new equipment is not expected to substantially change the existing look or profile of the existing operation.  No scenic resources will be damaged and since no new major construction of buildings or other structures is anticipated, scenic resources will not be obstructed and the existing visual character of any site in the vicinity of affected facilities will not be degraded.  On the contrary, scenic vistas may improve as emissions, which can be visible in the air, will decrease as a result of implementing the proposed project.

- d). There are no components in PAR 1110.2 that would require construction activities at night.  Therefore, no additional lighting at the facility would be required.  Similarly, PAR 1110.2 has no provisions that would require affected equipment to operate at night.  Therefore, PAR 1110.2 is not expected to create a new source of substantial light or glare that would adversely affect day or nighttime views in the area.  Therefore, the proposed project is not expected to create significant adverse aesthetic impacts.

Based on the above consideration, significant adverse impacts to aesthetics are not expected from PAR 1110.2.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| II. AGRICULTURE RESOURCES. Would the project: |  |  |  |
| a) Convert Prime Farmland, Unique Farmland, or Farmland of Statewide Importance (Farmland), as shown on the maps prepared pursuant to the Farmland mapping and Monitoring Program of the California Resources Agency, to non- agricultural use? |  |  |  |
| b) Conflict with existing zoning for agricultural use, or a Williamson Act contract? |  |  |  |
| c) Involve other changes in the existing environment which, due to their location or nature, could result in conversion of Farmland, to non-agricultural use? |  |  |  |

Significance Criteria

Project-related impacts on agricultural resources will be considered significant if any of the following conditions are met:

The proposed project conflicts with existing zoning or agricultural use or Williamson Act contracts.

The proposed project will convert prime farmland, unique farmland or farmland of statewide importance as shown on the maps prepared pursuant to the farmland mapping and monitoring program of the California Resources Agency, to non-agricultural use.

The proposed project would involve changes in the existing environment, which due to their location or nature, could result in conversion of farmland to non-agricultural uses.

# Discussion

- a) - c):  As discussed previously under “Aesthetics,” neither major modification of existing structures nor construction of new structures is anticipated to result from adopting and implementing PAR 1110.2.  The proposed rule amendments will require owners of previously exempt engines at agricultural facilities to replace the engine or install an emission control device to comply with the emission standards in the rule.  No other farming operations are expected to be affected by PAR 1110.2.  However, the construction is expected to be minor since it occurs at existing facilities and does not require demolition, grading or new paving.  The proposed project would not result in any construction of new buildings or other structures that would require converting farmland to non-agricultural use or conflict with zoning for agricultural use or a Williamson Act contract.  Installation of control equipment requires little additional space and, as a result, no farmland would need to be converted to non-farm uses.  Since the proposed project would not substantially change the facility or process for which the engines are utilized, there are no provisions in the proposed amended rule that would affect land use plans, policies, or regulations.  Land use and other planning considerations are determined by local governments and no land use or planning requirements relative to agricultural resources will be altered by the proposed project.

Based on the above consideration, significant adverse impacts to agriculture resources are not expected from PAR 1110.2.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | #### No Impact |
| --- | --- | --- | --- |
| III. AIR QUALITY. Would the project: |  |  |  |
| a) Conflict with or obstruct implementation of the applicable air quality plan? |  |  |  |
| b) Violate any air quality standard or contribute to an existing or projected air quality violation? |  |  |  |
| c) Result in a cumulatively considerable net increase of any criteria pollutant for which the project region is non-attainment under an applicable federal or state ambient air quality standard (including releasing emissions that exceed quantitative thresholds for ozone precursors)? |  |  |  |
| d) Expose sensitive receptors to substantial pollutant concentrations? |  |  |  |
| e) Create objectionable odors affecting a substantial number of people? |  |  |  |
| f) Diminish an existing air quality rule or future compliance requirement resulting in a significant increase in air pollutant(s)? |  |  |  |

Significance Criteria

Impacts will be evaluated and compared to the significance criteria in Table 2-1. If impacts equal or exceed any of the following criteria, they will be considered significant.

TABLE  2-1

Air Quality Significance Thresholds

| ###### Mass Daily Thresholds |  |  |
| --- | --- | --- |
| #### Pollutant | #### Construction | ##### Operation |
| NOx | 100 lbs/day | 55 lbs/day |
| VOC | 75 lbs/day | 55 lbs/day |
| PM10 | 150 lbs/day | 150 lbs/day |
| SOx | 150 lbs/day | 150 lbs/day |
| CO | 550 lbs/day | 550 lbs/day |
| Lead | 3 lbs/day | 3 lbs/day |
| ##### TAC, AHM, and Odor Thresholds |  |  |
| Toxic Air Contaminants (TACs, including carcinogens and non-carcinogens) | Maximum Incremental Cancer Risk > 10 in 1 million Hazard Index > 1.0 (project increment) Hazard Index > 3.0 (facility-wide) |  |
| Odor | Project creates an odor nuisance pursuant to SCAQMD Rule 402 |  |
| ##### Ambient Air Quality for Criteria Pollutants (a) |  |  |
| NO2 1-hour average annual average | In attainment; significant if project causes or contributes to an exceedance of any standard: 0.25 ppm (state) 0.053 ppm (federal) |  |
| PM10 24-hour average annual geometric average annual arithmetic mean | 10.4 g/m3 (recommended for construction) (b) 2.5 g/m3 (operation) 1.0 g/m3 20 g/m3 |  |
| Sulfate 24-hour average | 1 g/m3 |  |
| CO 1-hour average 8-hour average | In attainment; significant if project causes or contributes to an exceedance of any standard: 20 ppm (state) 9.0 ppm (state/federal) |  |

- Ambient air quality thresholds for criteria pollutants based on SCAQMD Rule 1303, Table A-2 unless otherwise stated.

- Ambient air quality threshold based on SCAQMD Rule 403.

lbs/day = pounds per day ; ug/m3 = microgram per cubic meter;  ppm = parts per million; NOx = Nitrogen Oxide, VOC = Volatile Organic Compounds, PM10 = particulate matter less than 10 microns in size, SOx = Sulfur Oxide, CO = Carbon Monoxide.

# Discussion

PAR 1110.2 will remove the exemption for all agricultural engines except emergency standby engines and engines powering orchard wind machines; add more recordkeeping requirements; and prohibit use of portable engine generators to supply power to the grid or to a building, facility, stationary source or stationary equipment except in an emergency affecting grid stability.  The proposed rule amendments will require previously exempted engines at agricultural operations to comply with an emission standard requiring either an engine replacement with a cleaner engine (natural gas, propane, etc.) or an electric motor, or the installation of a control device such as a three-way catalyst.

III. a): PAR 1110.2 would not conflict with or obstruct, air quality plan implementation.  The primary purpose of the SCAQMD’s AQMP is to control emissions to attain and maintain all federal and state ambient air quality standards for the district.  The 2003 AQMP concluded that major reductions in emissions of VOC and NOx are necessary to attain the air quality standards for ozone and PM10.

As noted in Chapter 1, the proposed amendments will achieve emission reductions by year 2007 when the previously exempt engines at agricultural operations are required to comply with the emission standards in the proposed amended rule.  Table 2-2 shows the air quality benefit from removing the exemption for agricultural engines in both tons per year and pounds per day.

Table 2-2

Anticipated Daily Emission Reductions from Removing 
Exemption for Agricultural Engines

| Agricultural Operation Engine Type | Number of Engines | EXPECTED EMISSION REDUCTIONS (tons per year) |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | NOx | VOC | CO | PM |
| Irrigation Pumps | 16 | 28.0 | 2.16 | 5.86 | 1.93 |
| Well/Water Pumps | 22 | 112 | 5.55 | 92.4 | 4.80 |
| Other Engines | 2 | 2.22 | 0.277 | 0.78 | 0.107 |
| TOTAL | 40a | 142 | 7.99 | 99 | 6.84 |
|  |  | EXPECTED EMISSION REDUCTIONS (pounds per day)b |  |  |  |
|  |  | NOx | VOC | CO | PM |
|  |  | 778 | 44 | 542 | 37 |

a. based on the results of the survey, it is assumed that the 40 engines would be located at 24 agricultural facilities.

b. based on 2000 pounds per ton conversion and a 365 days per year agricultural operating schedule.

By reducing emissions from diesel engines, the proposed amended rule will indirectly reduce cancer risk from individual engines by controlling the PM emissions from diesel engines.  The criteria pollutant and toxic emission reductions will contribute to the SCAQMD’s progress in attaining and maintaining with a margin of safety the ambient air quality standards for ozone and PM10 as well as reducing toxic risk.  As a result, implementing PAR 1110.2 will not conflict or obstruct AQMP implementation, but is consistent with the goals of the AQMP to further reduce NOx and PM emissions in the district.

III. b) & d): There are two types of air quality effects resulting from implementing PAR 1110.2.  The first effect is potential temporary emission increases from installing control equipment during the construction phase of the project and the second effect is the permanent air quality benefit achieved when the engine replacement or the control device is in operation by January 1, 2007. These air quality impacts are discussed in the following subsections.

Construction Emissions

Potential emission increases are expected as a result of replacing existing engines with electric motors or installing control equipment during the construction phase of the project.  The replacement engine or the control device can be delivered to the site in one trip by one construction worker.  The same holds true if the agricultural facility has more than one engine onsite because more than one replacement engine and/or the control device can be transported in the same delivery truck and facilities are more than likely to conduct the replacement or installation on the same day to save on shipping and labor costs.  Minor construction equipment, such as a welder to secure the equipment and a generator to power the installation equipment, would be necessary to install the electric motor or three-way catalyst at the existing location. An existing onsite winch (truck or portable) or manpower labor is expected to move the replacement or control equipment from the delivery truck to its new location.  No large cranes or forklifts are expected to be needed to perform this task.  No demolition, grading or paving is expected to be required because the replacement or installation will occur on an established foundation where the existing engine resides.

Once delivered, the electric motor or control device is expected to be installed within two hours since the equipment is pre-manufactured.  All affected agricultural facilities will have over four years from the date of rule adoption to install and properly operate the compliant equipment.  However, the analysis below assumes a “worst-case” scenario whereby the electric motor or control equipment is delivered and installed on the same day at one facility, as well as the more unlikely scenario, delivered and installed on the same day at all the 24 affected agricultural facilities.

While replacement of the engine or the installation of the control equipment could occur in year 2005 when the rule is adopted up to 2010 when construction should be completed for Tier 2 or Tier 3 engines, the emission factors chosen for the analysis are from scenario year 2005 because they are higher and, thus, the analysis is more conservative or “worst-case” than if the emission factors for subsequent years were chosen.

The construction emissions are calculated and shown in Table 2-3, which confirms that the emissions are less than the SCAQMD CEQA significance thresholds.

Table 2-3

Construction Emissions from Replacing Engine
or Installing Control Equipment at Affected Agricultural Facilities

|  | CO | VOC | NOx | SOx | PM10 |
| --- | --- | --- | --- | --- | --- |
| EMFAC 2002 On-Road Delivery Truck Motor Vehicle Emission Factor for Year 2005 (pounds per mile) (1) | 0.020984 | 0.002955 | 0.028142 | 0.000246 | 0.000500 |
| Emissions from one delivery vehicle (pounds per day) per facility (2) | 0.53 | 0.07 | 0.70 | 0.006 | 0.01 |
| Welder emission factor (pounds per hr) (3) | 0.236 | 0.084 | 0.333 | 0.0 | 0.035 |
| Emissions from one welder (pounds per day) (4) | 0.47 | 0.17 | 0.67 | 0.0 | 0.07 |
| One generator set emission factor (pounds per hr) (3) | 0.338 | 0.101 | 0.699 | 0.001 | 0.051 |
| Emissions from generator set (pounds per day) (5) | 0.68 | 0.20 | 1.4 | 0.002 | 0.10 |
| TOTAL CONSTRUCTION EMISSIONS – 1 FACILITY (pounds per day) | 1.7 | 0.44 | 2.8 | 0.008 | 0.18 |
| TOTAL CONSTRUCTION EMISSIONS – 24 FACILITIES (pounds per day) | 40 | 11 | 67 | 0.2 | 4.3 |
| SCAQMD CONSTRUCTION SIGNIFICANCE THRESHOLD (pounds per day) | 550 | 75 | 100 | 150 | 150 |
| SIGNIFICANT? | No | No | No | No | No |

(1) From CARB’s EMFAC 2002 (version 2.2) Burden Model (year 2005) - weighted average delivery trucks (>8500 pounds).

(2)Assumes the delivery trip with the construction worker would travel 25 miles roundtrip since the affected facilities tend to be located in urban areas where industrial/commercial equipment is available locally.  Equation:  EF x 25 miles traveled x 24 delivery trucks per day = pounds per day

(3) California Air Resources Board’s Off-Road Model (composite data provided to SCAQMD August 2004), scenario year 2005.

(4) Assumes 2 hours per day to install electric motor or control device. Equation:  emission factor x 1 welder x 2 hours per day] = pounds per day

(5) Equation:  emission factor x 1 generator x 2 hours per day = pounds per day

Operational Emissions

As presented in Table 2-2, the proposed project would achieve emission reductions of 778 pounds per day of NOx, 542 pounds per day of CO, 44 pounds per day of VOC and 37 pounds per day of PM once the engine replacement or the control device is in operation by January 1, 2007, and, thus, would not violate any ambient air quality standards or contribute to an existing or projected air quality violation.

Toxic Emissions

Diesel PM is considered a toxic air contaminant, so, replacing diesel engines with an electric motor or controlling emissions with a three-way catalyst will lower diesel emissions and, thus, will lower toxic risk on the local community near the affected engines.

III. c):  As already noted, implementing PAR 1110.2 is expected to require the replacement of an existing engine or installation of control equipment, but is not expected to require major construction activities or construction of new structures.  The operation of the affected engines is not expected to dramatically change compared to current operations since the electric motor should provide power equal to the existing engine and the control device can be retrofit without diminishing the effectiveness of the existing engine.  Since PAR 1110.2 is not expected to generate significant adverse project-specific construction or operational air quality impacts, it is not expected to cause cumulative impacts in conjunction with other projects that may occur concurrently with or subsequent to the proposed project because the projects incremental impacts are not considered or cumulatively considerable (CEQA Guidelines §15130(a)).  The proposed project’s contribution to a potentially significant cumulative impact is rendered less than cumulatively considerable and, thus, is not significant (CEQA Guidelines §15064(h)(2)).

III. e):  Objectionable odors are often associated with diesel exhaust emissions.  Since PAR 1110.2 will not increase diesel PM emissions, odors are not expected to change from current conditions or get worse.  The affected 40 engines at 24 facilities are located throughout the district so odors are not expected to be a substantial concentrated nuisance.   After the compliance date is reached, it is expected that Rule 1110.2 will provide a benefit by reducing population exposures from odors associated with diesel combustion from engines at affected facilities.  Therefore, no significant adverse odor impacts are expected from implementing PAR 1110.2.

III. f):  The proposed project will not diminish an existing air quality rule or future compliance requirement.  Requirements for portable engines will be modified but the modification is not expected to change the emissions from the portable engines because while paragraph (d)(2) in the current rule requires portable engines to meet the emission limits in Tables IV and V, it also requires portable engines to meet the most stringent emission standard in Title 13 of the CCR by 2010 (currently Tier III for diesels). However, the state law prohibits SCAQMD from regulating portable engines registered by the state for operation throughout California.  Because the definitions for non-road engine and portable engine are nearly identical, the portable engines actually become exempt from the portable engine requirements.  Therefore, the modification of the portable engine requirements will have no effect on the current emissions and regulation of portable engines and no further adverse air quality impact would result.

The analysis above concludes that an air quality benefit will result when the previously exempt engines at agricultural operations are required to comply with the emission standards in Rule 1110.2.  The construction emissions from the replacement of the engine or the installation of the control device are temporary and do not exceed the SCAQMD’s CEQA daily significance thresholds for construction and, therefore, the adverse air quality impact from PAR 1110.2 is not significant.

Based on the above consideration, significant adverse impacts to air quality are not expected from implementing PAR 1110.2.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| IV. BIOLOGICAL RESOURCES. Would the project: |  |  |  |
| a) Have a substantial adverse effect, either directly or through habitat modifications, on any species identified as a candidate, sensitive, or special status species in local or regional plans, policies, or regulations, or by the California Department of Fish and Game or U.S. Fish and Wildlife Service? |  |  |  |
| b) Have a substantial adverse effect on any riparian habitat or other sensitive natural community identified in local or regional plans, policies, or regulations, or by the California Department of Fish and Game or U.S. Fish and Wildlife Service? |  |  |  |
| c) Have a substantial adverse effect on federally protected wetlands as defined by §404 of the Clean Water Act (including, but not limited to, marsh, vernal pool, coastal, etc.) through direct removal, filling, hydrological interruption, or other means? |  |  |  |
| d) Interfere substantially with the movement of any native resident or migratory fish or wildlife species or with established native resident or migratory wildlife corridors, or impede the use of native wildlife nursery sites? |  |  |  |
| e) Conflicting with any local policies or ordinances protecting biological resources, such as a tree preservation policy or ordinance? |  |  |  |
| f) Conflict with the provisions of an adopted Habitat Conservation plan, Natural Community Conservation Plan, or other approved local, regional, or state habitat conservation plan? |  |  |  |

Significance Criteria

Impacts on biological resources will be considered significant if any of the following criteria apply:

The project results in a loss of plant communities or animal habitat considered to be rare, threatened or endangered by federal, state or local agencies.

The project interferes substantially with the movement of any resident or migratory wildlife species.

The project adversely affects aquatic communities through construction or operation of the project.

# Discussion

IV. a), b), d): The proposed amended rule is not expected to require any major construction activities or construction of new structures to comply with the proposed rule amendments because changes will occur at existing established agricultural operations.  Therefore, PAR 1110.2 will have no direct or indirect impacts that could adversely affect plant or animal species or the habitats on which they rely in the SCAQMD’s jurisdiction.  PAR 1110.2 will primarily affect the operation of engines at existing facilities and the emission reduction benefit from controlling emissions will not worsen the current operation or worsen present conditions of plant and animal life.  Further, PAR 1110.2 does not require acquisition of additional land or further conversions of riparian habitats or sensitive natural communities where endangered or sensitive species may be found.  Any changes to the existing physical environment would occur for business reasons, not as a result of implementing PAR 1110.2.

IV. c): Acquisition of protected wetlands is not expected to be necessary to control the emissions from agricultural engines.  Operators of affected engines would eventually replace the engine or install control equipment which would not require removing, filling or interrupting any hydrological system or have an adverse effect on federally protected wetlands.

- e), f): There are no provisions in the proposed amended rule that would adversely affect land use plans, local policies or ordinances, or regulations.  Land use and other planning considerations are determined by local governments and no land use or planning requirements will be altered by the proposed project.  PAR 1110.2 would not affect in any way habitat conservation or natural community conservation plans, agricultural resources or operations, and would not create divisions in any existing communities.

Based on the above consideration, significant adverse impacts to biological resources are not expected from PAR 1110.2.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| V. CULTURAL RESOURCES. Would the project: |  |  |  |
| - Cause a substantial adverse change in the significance of a historical resource as defined in §15064.5? |  |  |  |
| - Cause a substantial adverse change in the significance of an archaeological resource as defined in §15064.5? |  |  |  |
| - Directly or indirectly destroy a unique paleontological resource or site or unique geologic feature? |  |  |  |
| d) Disturb any human remains, including those interred outside a formal cemeteries? |  |  |  |

Significance Criteria

Impacts to cultural resources will be considered significant if:

The project results in the disturbance of a significant prehistoric or historic archaeological site or a property of historic or cultural significance to a community or ethnic or social group.

Unique paleontological resources are present that could be disturbed by construction of the proposed project.

The project would disturb human remains.

# Discussion

V. a) - d): There are existing laws in place that are designed to protect and mitigate potential impacts to cultural resources.  Operators of existing facilities with affected engines will not be required to perform major construction activities such as grading, trenching, etc., to comply with the proposed project.  Therefore, cultural resources would not be disturbed.  As a result, the proposed project has no potential to cause a substantial adverse change to a historical or archaeological resource, directly or indirectly destroy a unique paleontological resource or site or unique geologic feature, or disturb any human remains, including those interred outside a formal cemeteries.

Based on the above consideration, significant adverse impacts to cultural resources are not expected from PAR 1110.2.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| VI. ENERGY. Would the project: |  |  |  |
| a) Conflict with adopted energy conservation plans? |  |  |  |
| b) Result in the need for new or substantially altered power or natural gas utility systems? |  |  |  |
| c) Create any significant effects on local or regional energy supplies and on requirements for additional energy? |  |  |  |
| d) Create any significant effects on peak and base period demands for electricity and other forms of energy? |  |  |  |
| e) Comply with existing energy standards? |  |  |  |

Significance Criteria

Impacts to energy and mineral resources will be considered significant if any of the following criteria are met:

The project conflicts with adopted energy conservation plans or standards.

The project results in substantial depletion of existing energy resource supplies.

An increase in demand for utilities impacts the current capacities of the electric and natural gas utilities.

The project uses non-renewable resources in a wasteful and/or inefficient manner.

# Discussion

VI. a), e): The proposed rule amendments will require the installation of a control device or the replacement of the existing diesel engine with a cleaner engine or an electric motor.  As noted in Chapter 1, it is anticipated that the approximately 24 engines at affected agricultural operations, which operate at higher number of hours, will electrify because it would be a cost effective and feasible method to comply with proposed amended Rule 1110.2 stationary engine emission limits.  Using the latest rate schedule from Southern California Edison, the electricity needed to power the electric motors replacing the existing diesel engines at various horsepower ratings at agricultural facilities with high operating hours was calculated and presented in Table 2-4.  Because the level of electricity needed to power the electric motors replacing the existing diesel engines will not be substantial, the proposed project will not conflict with adopted energy conservation plans and is expected to comply with existing energy conservation standards, to the extent that affected engines are subject to energy conservation standards.

VI. b), c), d): Compliance with PAR 1110.2 includes the option to replace the engine with a lower-emission model or an electric motor.  In an engine replacement, only the engine needs to be replaced, and the balance of system remains the same.  Repowering is most likely to be needed for diesel engines and repowering with an electric motor will require installation of electrical conduit from the nearest source of power with sufficient voltage and current capability.  Table 2-4 outlines the estimated number of engines at affected agricultural operations anticipated to choose to replace existing diesel engines with an electric motor and the estimated amount of electricity required to power the electric motors.

Table 2-4

Energy Impacts from PAR 1110.2

| Agricultural Operation Engine Type | Estimated Number of Affected Engines | Operating Hours per Year | Anticipated Control Technology | Estimated Electricity Required to Power the Electric Motors (million kilowatt-hours per year) |
| --- | --- | --- | --- | --- |
| Irrigation Pumps | 16 | >3000 | Electrification | 10.9 |
| Well/Water Pumps | 8 | >1600 | Electrification | 1.98 |
| TOTAL ELECTRICITY REQUIRED (million kilowatt-hours per year) |  |  |  | 12.9 |
| TOTAL BASLINE SUPPLY OF ELECTRICITY IN DISTRICT* (million kilowatt-hours per year) |  |  |  | 126,510 |
| PERCENT OF BASELINE (percent) |  |  |  | 0.01 |
| SIGNIFICANT? |  |  |  | No |

* according to the Final Program EIR for the 2003 AQMP (Energy Impact Section, SCAQMD, August 2003)

As indicated in Table 2-4, the energy impacts and the effects on the electricity capacity are not significant and, thus, will not result in the need for new or substantially altered power or natural gas utility systems, and because the use of the electric motor is not expected to be significant, any possible future peak or base demands for the electricity will not be significant.

Based on the above considerations, significant adverse impacts to energy are not expected from PAR 1110.2.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| VII. GEOLOGY AND SOILS. Would the project: |  |  |  |
| a) Expose people or structures to potential substantial adverse effects, including the risk of loss, injury, or death involving: |  |  |  |
| - Rupture of a known earthquake fault, as delineated on the most recent Alquist-Priolo Earthquake Fault Zoning Map issued by the State Geologist for the area or based on other substantial evidence of a known fault? |  |  |  |
| - Strong seismic ground shaking? |  |  |  |
| - Seismic–related ground failure, including liquefaction? |  |  |  |
| - Landslides? |  |  |  |
| b) Result in substantial soil erosion or the loss of topsoil? |  |  |  |
| c) Be located on a geologic unit or soil that is unstable or that would become unstable as a result of the project, and potentially result in on- or off-site landslide, lateral spreading, subsidence, liquefaction or collapse? |  |  |  |
| d) Be located on expansive soil, as defined in Table 18-1-B of the Uniform Building Code (1994), creating substantial risks to life or property? |  |  |  |
| e) Have soils incapable of adequately supporting the use of septic tanks or alternative waste water disposal systems where sewers are not available for the disposal of waste water? |  |  |  |

Significance Criteria

Impacts on the geological environment will be considered significant if any of the following criteria apply:

Topographic alterations would result in significant changes, disruptions, displacement, excavation, compaction or over covering of large amounts of soil.

Unique geological resources (paleontological resources or unique outcrops) are present that could be disturbed by the construction of the proposed project.

Exposure of people or structures to major geologic hazards such as earthquake surface rupture, ground shaking, liquefaction or landslides.

Secondary seismic effects could occur which could damage facility structures, e.g., liquefaction.

Other geological hazards exist which could adversely affect the facility, e.g., landslides, mudslides.

# Discussion

VII. a): Engine operation takes place at existing affected facilities so PAR 1110.2 will not expose people to substantial geological effects greater than what they are exposed to already.  Since the proposed rule amendments will not require any major construction or new structures, PAR 1110.2 will not expose people or structures to risks of loss, injury, or death involving: rupture of an earthquake fault, seismic ground shaking, ground failure or landslides.

VII. b): The proposed project will not require major construction activities (e.g., grading, trenching, refilling and repaving), so there no potential impacts to existing geophysical conditions are anticipated.  Because affected engines are primarily located at existing facilities on established foundations, no soil will need to be disrupted.  Therefore, no substantial soil erosion or loss of topsoil is expected from the existing affected facilities as a result of controlling emissions from agricultural engines.  In the event that any soil disruption occurs, fugitive dust control measures would be required under Rule 403 – Fugitive Dust.

VII. c) & d):  Affected engines are primarily located at existing established facilities and, therefore, will not involve locating any structures on soil that is unstable or expansive.  However, as already noted, no soil disturbance is anticipated from the proposed amended rule, therefore, no further destabilization of unstable soils would be expected that could cause on- or off-site landslides, lateral spreading, subsidence, liquefaction or collapse.

VII. e):  The proposed project does not involve the installation of septic tanks or alternative waste water disposal systems.  Therefore, this type of soil impact will not occur.

Based on the above considerations, significant adverse impacts to geology and soils are not expected from implementing PAR 1110.2.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| VIII. HAZARDS AND HAZARDOUS MATERIALS. Would the project: |  |  |  |
| a) Create a significant hazard to the public or the environment through the routine transport, use, and disposal of hazardous materials? |  |  |  |
| - Create a significant hazard to the public or the environment through reasonably foreseeable upset and accident conditions involving the release of hazardous materials into the environment? |  |  |  |
| - Emit hazardous emissions, or handle hazardous or acutely hazardous materials, substances, or waste within one-quarter mile of an existing or proposed school? |  |  |  |
| - Be located on a site which is included on a list of hazardous materials sites compiled pursuant to Government Code §65962.5 and, as a result, would create a significant hazard to the public or the environment? |  |  |  |
| - For a project located within an airport land use plan or, where such a plan has not been adopted, within two miles of a public airport or public use airport, would the project result in a safety hazard for people residing or working in the project area? |  |  |  |
| - For a project within the vicinity of a private airstrip, would the project result in a safety hazard for people residing or working in the project area? |  |  |  |
| - Impair implementation of or physically interfere with an adopted emergency response plan or emergency evacuation plan? |  |  |  |
| - Expose people or structures to a significant risk of loss, injury or death involving wildland fires, including where wildlands are adjacent to urbanized areas or where residences are intermixed with wildlands? |  |  |  |
| - Significantly increased fire hazard in areas with flammable materials? |  |  |  |

Significance Criteria

Impacts associated with hazards will be considered significant if any of the following occur:

Non-compliance with any applicable design code or regulation.

Non-conformance to National Fire Protection Association standards.

Non-conformance to regulations or generally accepted industry practices related to operating policy and procedures concerning the design, construction, security, leak detection, spill containment or fire protection.

Exposure to hazardous chemicals in concentrations equal to or greater than the Emergency Response Planning Guideline (ERPG) 2 levels.

# Discussion

VIII. a), b), & c): Engine operations are not expected to change at the affected facilities and, therefore, although transport of diesel fuel may decline as a result of replacing diesel engines with electric motors.  The electric motor or the three-way catalyst control device does not require additional transport of acutely hazardous materials. Consequently, proposed amended Rule 1110.2 will not create a significant new hazard to the public or create a reasonably foreseeable upset condition involving the release of hazardous materials.

VIII. d):  Government code §65962.5 refers to hazardous waste handling practices at facilities subject to the Resources Conservation and Recovery Act (RCRA).  For any affected facilities identified on such a list, compliance with the proposed project is not expected to affect in any way any facility’s hazardous waste handling practices.

VIII. e) & f):  Regardless of whether or not affected facilities are located near airports or private airstrips, the proposed project will not create new safety hazards because the proposed project will not require the use of any hazardous materials to operate an electric motor or three-way catalyst.  No new hazards will be introduced at affected facilities that could create safety hazards at local airports or private airstrips.

VIII. g):  The proposed project is expected to require a replacement of the existing engine or installation of a control device but will not change the operating characteristics of affected engines.  In the event that operators of affected engines use a different type of combustion fuel such as emulsified diesel fuels, adopted emergency response plans and emergency evacuation plans may need to be amended, but the proposed project is not expected to physically interfere with implementing an adopted emergency response plans and emergency evacuation plans.

VIII. h,) & i):  Since the proposed rule amendments will not require any major construction or new structures, PAR 1110.2 is not expected to expose people or structures to a significant risk of loss, injury or death involving wildland fires, including where wildlands are adjacent to urbanized areas or where residences are intermixed with wildlands.  Because existing operations are not expected to change substantially, except for possibly a change in the power source involving no hazardous materials, there will be no significant increase of fire hazards in areas with flammable materials than whatever currently exists.

Based on the above considerations, significant adverse impacts to hazards and hazardous materials are not expected from PAR 1110.2.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| IX. HYDROLOGY AND WATER QUALITY. Would the project: |  |  |  |
| a) Violate any water quality standards or waste discharge requirements? |  |  |  |
| - Substantially deplete groundwater supplies or interfere substantially with groundwater recharge such that there would be a net deficit in aquifer volume or a lowering of the local groundwater table level (e.g. the production rate of pre-existing nearby wells would drop to a level which would not support existing land uses or planned uses for which permits have been granted)? |  |  |  |
| c) Substantially alter the existing drainage pattern of the site or area, including through alteration of the course of a stream or river, in a manner that would result in substantial erosion or siltation on- or off-site? |  |  |  |
| d) Substantially alter the existing drainage pattern of the site or area, including through alteration of the course of a stream or river, or substantially increase the rate or amount of surface runoff in a manner that would result in flooding on- or off-site? |  |  |  |
| e) Create or contribute runoff water which would exceed the capacity of existing or planned stormwater drainage systems or provide substantial additional sources of polluted runoff? |  |  |  |
| f) Otherwise substantially degrade water quality? |  |  |  |
| g) Place housing within a 100-year flood hazard area as mapped on a federal Flood Hazard Boundary or Flood Insurance Rate Map or other flood hazard delineation map? |  |  |  |
| h) Place within a 100-year flood hazard area structures which would impede or redirect flood flaws? |  |  |  |
| i) Expose people or structures to a significant risk of loss, injury or death involving flooding, including flooding as a result of the failure of a levee or dam? |  |  |  |
| j) Inundation by seiche, tsunami, or mudflow? |  |  |  |
| k) Exceed wastewater treatment requirements of the applicable Regional Water Quality Control Board? |  |  |  |
| l) Require or result in the construction of new water or wastewater treatment facilities or expansion of existing facilities, the construction of which could cause significant environmental effects? |  |  |  |
| m) Require or result in the construction of new storm water drainage facilities or expansion of existing facilities, the construction of which could cause significant environmental effects? |  |  |  |
| n) Have sufficient water supplies available to serve the project from existing entitlements and resources, or are new or expanded entitlements needed? |  |  |  |
| o) Require in a determination by the wastewater treatment provider, which serves or may serve the project that it has adequate capacity to serve the project's projected demand in addition to the provider's existing commitments? |  |  |  |

Significance Criteria

Potential impacts on water resources will be considered significant if any of the following criteria apply:

Water Quality:

The project will cause degradation or depletion of ground water resources substantially affecting current or future uses.

The project will cause the degradation of surface water substantially affecting current or future uses.

The project will result in a violation of National Pollutant Discharge Elimination System (NPDES) permit requirements.

The capacities of existing or proposed wastewater treatment facilities and the sanitary sewer system are not sufficient to meet the needs of the project.

The project results in substantial increases in the area of impervious surfaces, such that interference with groundwater recharge efforts occurs.

The project results in alterations to the course or flow of floodwaters.

Water Demand:

The existing water supply does not have the capacity to meet the increased demands of the project, or the project would use a substantial amount of potable water.

The project increases demand for water by more than five million gallons per day.

# Discussion

IX. a), b), f), n), & o): The proposed rule amendments will not require any major construction or change to the existing operations that would affect hydrology and water quality at the facility.  In addition, PAR 1110.2 will have no direct or indirect impact on hydrology and water quality because operators at affected facilities are not expected to use water to a greater extent than they currently use for dirt suppression, cleaning, etc., because air pollution control equipment and processes for affected engines typically do not involve the use of water.  Therefore, PAR 1110.2 will not adversely affect water resources, water quality standards, groundwater supplies, water quality degradation, existing water supplies or wastewater treatment facilities.

IX. c), d), e):  The proposed project would primarily affect engines at existing agricultural facilities.  No major construction activities will be necessary to comply with PAR 1110.2, so the proposed project will not alter any existing drainage patterns, increase the rate or amount of surface runoff water that would exceed the capacity of existing or planned stormwater drainage systems.

IX. g) & h): PAR 1110.2 does not involve construction of housing so it will not result in placing housing in a 100-year flood hazard areas that could create new flood hazards.  The proposed project would affect engines located at existing facilities with no anticipated change to the current operations so any flood hazards would be part of the existing setting.

IX. i), j):  Since PAR 1110.2 primarily controls emissions of agricultural engines located at existing facilities and does not require construction of new facilities, it will not create new flood risks or risks from seiches, tsunamis or mudflow conditions.  Any risks from seiches, tsunamis, or mudflows would be part of the existing setting.

IX. k): Because controlling emissions from affected engines does not require water, no changes to any existing wastewater treatment permits would be necessary.  As a result, the proposed project is not expected to affect any affected facility’s ability to comply with existing wastewater treatment requirements or conditions from any applicable Regional Water Quality Control Board or local sanitation district.

IX. l) & m): Because controlling emissions from affected engines does not require water as part of the control equipment or control process, no increase in wastewater from complying with the proposed project that could exceed the capacity of existing stormwater drainage systems or require the construction of new wastewater or stormwater drainage facilities is anticipated.

Based on the above considerations, significant adverse impacts to hydrology and water quality are not expected from PAR 1110.2.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| X. LAND USE AND PLANNING. Would the project: |  |  |  |
| a) Physically divide an established community? |  |  |  |
| b) Conflict with any applicable land use plan, policy, or regulation of an agency with jurisdiction over the project (including, but not limited to the general plan, specific plan, local coastal program or zoning ordinance) adopted for the purpose of avoiding or mitigating an environmental effect? |  |  |  |
| c) Conflict with any applicable habitat conservation or natural community conservation plan? |  |  |  |

Significance Criteria

Land use and planning impacts will be considered significant if the project conflicts with the land use and zoning designations established by local jurisdictions.

# Discussion

X. a.): Since the proposed rule amendments will not require any major construction or new structures or changes to the current operations, PAR 1110.2 will not create divisions in any existing communities because this provision applies generally to operations at existing facilities.  Similarly, the proposed project does not require construction of new structures that could physically divide an established community.  Any new structures would be built for reasons other than to comply with PAR 1110.2, such as starting a new, or relocating an existing business.

X. b), c): Operations at agricultural facilities with engines would still be expected to comply, and not interfere, with any applicable land use plans, zoning ordinances, habitat conservation or natural community conservation plans.  There are no provisions of the proposed project that would directly affect these plans, policies, or regulations.  Land use and other planning considerations are determined by local governments and no present or planned land uses in the region or planning requirements will be altered by the proposed project.

Based on the above considerations, significant adverse impacts to land use and planning are not expected from PAR 1110.2.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XI. MINERAL RESOURCES. Would the project: |  |  |  |
| a) Result in the loss of availability of a known mineral resource that would be of value to the region and the residents of the state? |  |  |  |
| b) Result in the loss of availability of a locally-important mineral resource recovery site delineated on a local general plan, specific plan or other land use plan? |  |  |  |

Significance Criteria

Project-related impacts on mineral resources will be considered significant if any of the following conditions are met:

The project would result in the loss of availability of a known mineral resource that would be of value to the region and the residents of the state.

The proposed project results in the loss of availability of a locally-important mineral resource recovery site delineated on a local general plan, specific plan or other land use plan.

# Discussion

XI. a), b): There are no provisions of the proposed amended rule that would directly result in the loss of availability of a known mineral resource, such as aggregate, coal, shale, etc., of value to the region and the residents of the state, or of a locally-important mineral resource recovery site delineated on a local general plan, specific plan or other land use plan.  Based on the above considerations, significant adverse impacts to mineral resources are not expected from PAR 1110.2.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XII. NOISE. Would the project result in: |  |  |  |
| a) Exposure of persons to or generation of noise levels in excess of standards established in the local general plan or noise ordinance, or applicable standards of other agencies? |  |  |  |
| b) Exposure of persons to or generation of excessive groundborne vibration or groundborne noise levels? |  |  |  |
| c) A substantial permanent increase in ambient noise levels in the project vicinity above levels existing without the project? |  |  |  |
| d) A substantial temporary or periodic increase in ambient noise levels in the project vicinity above levels existing without the project? |  |  |  |
| e) For a project located within an airport land use plan or, where such a plan has not been adopted, within two miles of a public airport or public use airport, would the project expose people residing or working in the project area to excessive noise levels? |  |  |  |
| f) For a project within the vicinity of a private airship, would the project expose people residing or working in the project area to excessive noise levels? |  |  |  |

Significance Criteria

Impacts on noise will be considered significant if:

Construction noise levels exceed the local noise ordinances or, if the noise threshold is currently exceeded, project noise sources increase ambient noise levels by more than three decibels (dBA) at the site boundary.  Construction noise levels will be considered significant if they exceed federal Occupational Safety and Health Administration (OSHA) noise standards for workers.

The proposed project operational noise levels exceed any of the local noise ordinances at the site boundary or, if the noise threshold is currently exceeded, project noise sources increase ambient noise levels by more than three dBA at the site boundary.

# Discussion

XII. a), b), c) & d): Operation of diesel engines typically results in the generation of a certain amount of noise.  The noise level may change if the agricultural facility decides to comply by electrification because electric motors tend to be quieter than diesel or natural gas engines.  In addition, NSCR technology is typically housed in a cylinder container, which is often designed as a silencer to reduce possible noise; protects the catalyst from damage; and ensures catalyst durability and high performance.  However, noise levels are not expected to change since control equipment and control processes for affected engines are not typically noise intensive or are often located in remote areas.  Therefore, implementation of PAR 1110.2 will not generate additional or new noise, excessive groundborne vibration, or substantially increase ambient noise levels beyond existing levels.  As a result, the proposed amended rule would have no new or additional noise impacts, but may produce beneficial effects relative to noise if affected engines are replaced by electric motors.

XII. e) & f): As indicated in the preceding discussion, noise levels will either not change or will decline as a result of the proposed project and, therefore, will have a neutral effect on noise levels from affected engines at facilities that may be located within two miles of an airport or private airstrip.

Based on the above considerations, significant adverse impacts to noise are not expected from PAR 1110.2.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XIII. POPULATION AND HOUSING. Would the project: |  |  |  |
| a) Induce substantial growth in an area either directly (for example, by proposing new homes and businesses) or indirectly (e.g. through extension of roads or other infrastructure)? |  |  |  |
| b) Displace substantial numbers of existing housing, necessitating the construction of replacement housing elsewhere? |  |  |  |
| c) Displace substantial numbers of people, necessitating the construction of replacement housing elsewhere? |  |  |  |

Significance Criteria

Impacts of the proposed project on population and housing will be considered significant if the following criteria are exceeded:

The demand for temporary or permanent housing exceeds the existing supply.

The proposed project produces additional population, housing or employment inconsistent with adopted plans either in terms of overall amount or location.

# Discussion

XIII. a), b), c):  Human population in the SCAQMD’s jurisdiction is anticipated to grow regardless of implementing the proposed project.  The proposal would control emissions from existing engines, which will require a minimal number of additional employees to construct since future compliance activities will only require minor modifications to existing equipment. The construction/installation, however, will only be temporary. Similarly, no additional employees would be required during operation because the operation of an electric motor or three-way catalyst will have minimal effect on the current operation of affected equipment to necessitate additional employees.  District population will not be affected directly or indirectly as a result of adopting and implementing the proposed amended rule.  Further, controlling engine emissions will not indirectly induce growth in the area of facilities with affected engines.  The construction of single- or multiple-family housing units would not be required as a result of implementing the proposed project since no new employees will be required at affected facilities.  The proposed project will not require relocation of affected engines or facilities, so existing housing or populations in the district are not anticipated to be displaced necessitating the construction of replacement housing elsewhere.

Based on the above considerations, significant adverse impacts to population and housing are not expected from PAR 1110.2.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XIV. PUBLIC SERVICES. Would the proposal result in substantial adverse physical impacts associated with the provision of new or physically altered governmental facilities, need for new or physically altered government facilities, the construction of which could cause significant environmental impacts, in order to maintain acceptable service ratios, response times or other performance objectives for any of the following public services: |  |  |  |
| a) Fire protection? |  |  |  |
| b) Police protection? |  |  |  |
| c) Schools? |  |  |  |
| d) Parks? |  |  |  |
| e) Other public facilities? |  |  |  |

Significance Criteria

Impacts on public services will be considered significant if the project results in substantial adverse physical impacts associated with the provision of new or physically altered governmental facilities, or the need for new or physically altered government facilities, the construction of which could cause significant environmental impacts, in order to maintain acceptable service ratios, response time or other performance objectives.

# Discussion

XIV. a) & b): PAR 1110.2 will not involve the use of acutely hazardous materials.  As a result, no new fire hazards or increased use of hazardous materials would be introduced at existing affected facilities.  Thus, no new demands for fire or police protection are expected from PAR 1110.2 since the proposed rule amendments will not require any major construction or new structures.

XIV. c), d):  As noted in the “Population and Housing” discussion, implementing PAR 1110.2 will only temporarily require a minimal number of employees for construction because no major construction is necessary to replace the engine or install a control device.  Similarly, no new employees will be required to maintain operation of affected engines.  As a result, PAR 1110.2 will have no direct or indirect effects on population growth in the district.  Consequently, no new impacts to schools, parks or other recreational facilities are foreseen as a result of implementing the proposed amended Rule 1110.2.

XIV. e):  Because the future installation of control equipment only requires minor modifications to affected engines, the proposal would not result in the need for new or physically altered government facilities in order to maintain acceptable service ratios, response times or other performance objectives.

Based on the above considerations, significant adverse impacts to public services are not expected from PAR 1110.2.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XV. RECREATION. |  |  |  |
| a) Would the project increase the use of existing neighborhood and regional parks or other recreational facilities such that substantial physical deterioration of the facility would occur or be accelerated.? |  |  |  |
| b) Does the project include recreational facilities or require the construction or expansion of recreational facilities that might have an adverse physical effect on the environment? |  |  |  |

Significance Criteria

Impacts to recreation will be considered significant if:

The project results in an increased demand for neighborhood or regional parks or other recreational facilities.

The project adversely effects existing recreational opportunities.

# Discussion

XV. a) & b): As discussed under “Land Use and Planning” above, there are no provisions in the proposed project that would affect land use plans, policies or ordinances, or regulations.  Land use and other planning considerations are determined by local governments; no land use or planning requirements will be altered by the proposal.  As already noted in item XII, Population and Housing, the proposed project is not expected to increase population growth in the district because no additional employees would be required at affected facilities to operate the new equipment, so no additional demand for recreation facilities is anticipated.  Further, the proposed amended rule would not increase the use of existing neighborhood and regional parks or other recreational facilities or include recreational facilities or require the construction or expansion of recreational facilities that might have an adverse physical effect on the environment.

Based on the above considerations, significant adverse impacts to recreation are not expected from PAR 1110.2.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact |  | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- | --- |
| XVI. SOLID/HAZARDOUS WASTE. Would the project: |  |  |  |  |
| a) Be served by a landfill with sufficient permitted capacity to accommodate the project’s solid waste disposal needs? |  |  |  |  |
| b) Comply with federal, state, and local statutes and regulations related to solid and hazardous waste? |  |  |  |  |

Significance Criteria

The proposed project impacts on solid/hazardous waste will be considered significant if the following occur:

The generation and disposal of hazardous and non-hazardous waste exceeds the capacity of designated landfills.

# Discussion

XVI. a): The three-way catalyst is a corrugated base metal substrate with an alumina wash coat loaded with precious metals such as platinum, palladium, and rhodium which can be recovered from the spent catalyst and then recycled when the catalyst bed is periodically replaced. The expected life of the catalyst is approximately three to five years depending on the type of exhaust flow.  The diesel engine replaced by the electric motor is anticipated to be dismantled for parts, sold to scrap dealer for re-use or disposed in a waste facility.  Because only 16 agricultural engines are estimated to install the three-way catalyst and 24 electric motors will replace diesel engines located throughout the district, the impact on solid waste landfill capacity is negligible and does not significantly change the facilities’ current solid waste disposal needs.

XVI. b): It is expected that PAR 1110.2 will have no effect on an operator’s ability to comply with relevant statutes and regulations related to solid and hazardous wastes.  Consequently, it is anticipated that operators of affected facilities would continue to comply with federal, state, and local statutes and regulations related to solid and hazardous waste handling and disposal.  Therefore, potential solid waste impacts are considered not significant.

Based on the above consideration, significant adverse impacts to solid/hazardous waste are not expected from PAR 1110.2.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XVII. TRANSPORTATION/TRAFFIC Would the project: |  |  |  |
| a) Cause an increase in traffic which is substantial in relation to the existing traffic load and capacity of the street system (i.e., result in a substantial increase in either the number of vehicle trips, the volume to capacity ratio on roads, or congestion at intersections)? |  |  |  |
| - Exceed, either individually or cumulatively, a level of service standard established by the county congestion management agency for designated roads or highways? |  |  |  |
| - Result in a change in air traffic patterns, including either an increase in traffic levels or a change in location that results in substantial safety risks? |  |  |  |
| - Substantially increase hazards due to a design feature (e.g. sharp curves or dangerous intersections) or incompatible uses (e.g. farm equipment)? |  |  |  |
| e) Result in inadequate emergency access? |  |  |  |
| f) Result in inadequate parking capacity? |  |  |  |
| g) Conflict with adopted policies, plans, or programs supporting alternative transportation (e.g. bus turnouts, bicycle racks)? |  |  |  |

Significance Criteria

Impacts on transportation/traffic will be considered significant if any of the following criteria apply:

Peak period levels on major arterials are disrupted to a point where level of service (LOS) is reduced to D, E or F for more than one month.

An intersection’s volume to capacity ratio increase by 0.02 (two percent) or more when the LOS is already D, E or F.

A major roadway is closed to all through traffic, and no alternate route is available.

There is an increase in traffic that is substantial in relation to the existing traffic load and capacity of the street system.

The demand for parking facilities is substantially increased.

Water borne, rail car or air traffic is substantially altered.

Traffic hazards to motor vehicles, bicyclists or pedestrians are substantially increased.

The need for more than 350 employees

An increase in heavy-duty transport truck traffic to and/or from the facility by more than 350 truck round trips per day

Increase customer traffic by more than 700 visits per day.

# Discussion

XVII. a), b), f): As noted in the “Discussion” sections of other environmental topics compliance with PAR 1110.2 is not expected to require major construction to install control equipment, either to the equipment or at the site, e.g., site preparation, construction, etc.  PAR 1110.2 will require a delivery of the engine replacement or control equipment and would require an additional transport for workers to install control equipment.  As noted in the “Air Quality” the delivery of the engine replacement or control equipment can be accomplished in one trip and only one additional construction worker would be needed to install the equipment at each of the 24 affected agricultural facilities.  The construction phase is only temporary and, even in the unlikely “worst-case” scenario that the delivery of the engine replacement or control equipment to all 24 affected facilities occurs on the same day, significant adverse transportation/traffic impacts are not expected because affected facilities are widely dispersed throughout the district.  As a result it is unlikely that trips to and from one affected facility will affect traffic congestion at other affected facilities.   Operation of compliant equipment will add no new trips because no new employees are expected to be required.

XVII. c):  Air traffic patterns are not expected to be directly or indirectly affected by the proposed amended rule because control requirements for affected engines do not anticipate transport of control equipment by air since the engine replacement and control equipment are available locally, nor will the existing affected operations interfere with air traffic.  All applicable local, state and federal requirements would continue to be complied with so no increase in any safety risks is expected.

XVII. d), e): Proposed amended Rule 1110.2 does not have direct or indirect impacts on specific construction design features because the proposed project does not require or induce the construction of any roadways or other transportation design features.  Further, PAR 1110.2 would not substantially change current engine operations.

XVII. g): Affected facilities would still be expected to comply with, and not interfere with adopted policies, plans, or programs supporting alternative transportation. Although the proposed rule amendments will require engine replacement or additional installations of emission control devices at affected agricultural facilities, PAR 1110.2 will not hinder compliance with any applicable alternative transportation plans or policies.

Based on the above considerations, significant adverse impacts to transportation/circulation are not expected from PAR 1110.2.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XVIII. MANDATORY FINDINGS OF SIGNIFICANCE. |  |  |  |
| a) Does the project have the potential to degrade the quality of the environment, substantially reduce the habitat of a fish or wildlife species, cause a fish or wildlife population to drop below self-sustaining levels, threaten to eliminate a plant or animal community, reduce the number or restrict the range of a rare or endangered plant or animal or eliminate important examples of the major periods of California history or prehistory? |  |  |  |
| - Does the project have impacts that are individually limited, but cumulatively considerable? ("Cumulatively considerable" means that the incremental effects of a project are considerable when viewed in connection with the effects of past projects, the effects of other current projects, and the effects of probable future projects) |  |  |  |
| c) Does the project have environmental effects that will cause substantial adverse effects on human beings, either directly or indirectly? |  |  |  |

# Discussion

XVIII. a): As discussed in items I through XVII above, the PAR 1110.2 has no potential to cause significant adverse environmental effects because the estimated emissions from the construction phase of the project are less than significant.  In addition, the proposed project will have an air quality benefit once the affected engines are replaced or controlled.  Therefore, the proposed project is not expected to degrade the quality of the environment, substantially reduce the habitat of a fish or wildlife species, cause a fish or wildlife population to drop below self sustaining levels, threaten to eliminate a plant or animal community, reduce the number or restrict the range of a rare or endangered plant or animal.  Similarly, PAR 1110.2 would not eliminate important examples of the major periods of California history or prehistory or otherwise degrade cultural resources.

XVIII.b)  Based on the foregoing analyses, since PAR 1110.2 will not result in project-specific significant environmental impacts, PAR 1110.2 is not expected to cause cumulative impacts in conjunction with other projects that may occur concurrently with or subsequent to the proposed project.  Furthermore, PAR 1110.2 impacts will not be "cumulatively considerable" because the incremental impacts are not considerable when viewed in connection with the effects of past, current, or probable future projects.

XVIII.c)  Based on the foregoing analyses, PAR 1110.2 is not expected to cause significant adverse effects on human beings, either directly, or indirectly.

A P P E N D I X   A

P R O P O S E D   A M E N D E D   R U L E   1 1 1 0 . 2

In order to save space and avoid repetition, please refer to the latest version of the proposed amended Rule 1110.2 located elsewhere in the final rule package.  The “March 17, 2005” version of PAR 1110.2 circulated with the Draft EA was released on March 18, 2005 for a 30-day public review and comment period ending April 19, 2005.

Original hard copies of the Draft EA, which include the “March 17, 2005” version of the proposed amended rule, can be obtained through the SCAQMD Public Information Center at the Diamond Bar headquarters or by calling (909) 396-2039.