| Diesel Particulate Filter Level 3 Plus Retrofit | Catalytic Exhaust Products | For Tier 1, Tier 2, or Tier 3 certified off-road engines used in stationary prime and emergency standby generators and pumps. For those belonging to Engine Families listed in: Attachment 1 to EO (DE-08-005.) | NA | NA | NA | NA | 85% | CARB Executive Order (DE-08-005 on 12-22-2008) | Unknown at this time | Not Available |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Dieselytic SXS-SC |  |  |  |  |  |  |  |  |  |
| Diesel Particulate Filter Level 3 Plus Retrofit | Caterpillar | Diesel engines of all model years 2008 and older For those belonging to Engine Families listed in: Attachment 1 to CVL (RAS-08-12); Attachment 1 to CVL (08-661-096); and, Attachment 1 to EO (DE-08-004). | NA | NA | NA | NA | 85% | CARB Conditional Verification Letter (01-22-2008) Conditional Verification Letter (03-07-2008) Executive Order (DE-08-004 on 10-23-2008) | Unknown at this time | Not Available |
|  | DPF (Passive type) |  |  |  |  |  |  |  |  |  |
| Diesel Particulate Filter Level 3 Plus Retrofit | Cleaire | Diesel engines of all model years up through and including 2007 | NA | NA | NA | NA | 85% | CARB Conditional Verification Letter (01-26-2007) | 75 in service: - School buses - Utility trucks - Refuse trucks | $9.7 - $10.5 |
|  | Horizon (Active type) |  |  |  |  |  |  |  |  |  |
| Diesel Particulate Filter Level 3 Plus Retrofit | Cleaire | Diesel engines in rubber-tired off-road vehicles for model years 1996 to 2009 For those belonging to Engine Families listed in: Attachment 1 to CVL (08-661-461) | NA | 40% | NA | NA | 85% | CARB Conditional Verification Letter (08-661-461 on 12-23-2008) | Unknown at this time | Not Available |
|  | Lonestar |  |  |  |  |  |  |  |  |  |
| Diesel Particulate Filter Level 3 Plus Retrofit | Cleaire | Diesel engines in rubber-tired off-road vehicles for model years 1996 through 2009 | NA | NA | NA | NA | 85% | CARB Conditional Verification Letter (09-661-058 on 03-20-2009) | Unknown at this time | Not Available |
|  | Phoenix (Active type) |  |  |  |  |  |  |  |  |  |
| Diesel Particulate Filter Level 3 Plus Retrofit | DCL International | Stationary prime and emergency standby generators, pumps, and compressors. For those belonging to Engine Families listed in: Attachment 1 to EO DE-08-002; and Attachment 1 to EO DE-08-002-01. | NA | NA | NA | NA | 85% | CARB Executive Order (DE-08-002 on 08-22-2008) Executive Order (DE-08-002-01 on 05-01-2009) | Unknown at this time | Not Available |
|  | Mine-X Sootfilter |  |  |  |  |  |  |  |  |  |
| Diesel Particulate Filter Level 3 Plus Retrofit | DCL International | For 1996 through 2009 model year off-road diesel engines rated to between 100 and 1000 h.p. For those belonging to Engine Families listed in: Attachment 1 to EO DE-08-002. | NA | NA | NA | NA | 85% | CARB Verification Letter (RAS-08-15 on 01-24-2008) Executive Order (DE-08-002 on 08-24-2009) | Unknown at this time | Not Available |
|  | Mine-X Sootfilter |  |  |  |  |  |  |  |  |  |
| Diesel Particulate Filter Level 3 Plus Retrofit | Dinex | For most trailer TRUs using 1999 through 2005 model year engines. For those belonging to Engine Families listed in: Attachment 1 to EO DE-09-002. | NA | NA | NA | NA | 85% | CARB Executive Order (DE-09-002 on 05-22-2009) | Unknown at this time | Not Available |
|  | DiSiC |  |  |  |  |  |  |  |  |  |

| Diesel Particulate Filter Level 3 Plus Retrofit | Engine Control Systems | For 2007 or older model year engines For those belonging to Engine Families listed in Attachment 1 to EO DE-04-012 but excluding Engine Families listed in Attachment 1 to EO DE-04-012-01. | NA | NA | NA | NA | 85% | CARB Executive Order (DE-04-012 on 12-13-2004) Executive Order (DE-04-012-01 on 04-24-2007) | Ten 100 hp – 150 hp engines on 19,000 lb forklifts in IN, FL, MA, GA, & CT. | $6.7 - $23 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Combifilter (Active type) |  |  |  |  |  |  |  |  |  |
| Diesel Particulate Filter Level 3 Plus Retrofit | Engine Control Systems | Diesel engines with model years between 1996 and 2008 For those belonging to Engine Families listed in Attachment 1 to CVL (08-661-379). | NA | NA | NA | NA | 85% | CARB Conditional Verification Letter (08-661-379 on 10-20-2008) | Unknown at this time | Not Available |
|  | Purifilter |  |  |  |  |  |  |  |  |  |
| Diesel Particulate Filter Level 3 Plus Retrofit | ESW Canada | Heavy-duty diesel engines in off-road vehicles for model years 1996 through 2009 For those belonging to Engine Families listed in: Attachment 1 to EO DE-09-010. | NA | NA | NA | NA | 85% | CARB Executive Order (DE-09-010 on 04-28-2009) | Unknown at this time | Not Available |
|  | ThermaCat (Active type) |  |  |  |  |  |  |  |  |  |
| Diesel Particulate Filter Level 3 Plus Retrofit | GTE Industries | For Tier 1, Tier 2, or Tier 3 certified off-road engines used in stationary prime and emergency standby generators and pumps For those belonging to Engine Families listed in: Attachment 1 to EO DE-09-011. | NA | NA | NA | NA | 85% | CARB Executive Order (DE-09-011 on 07-16-2009) | Unknown at this time | Not Available |
|  | Purity |  |  |  |  |  |  |  |  |  |
| Diesel Particulate Filter Level 3 Plus Retrofit | HUSS Umwelttechnik | Heavy-duty diesel engines of all model years up through and including 2008 Excluding those belonging to Engine Families listed in: Attachment 1 to EO DE-06-007; Attachment 1 to EO DE-06-007-01; Attachment 1 to EO DE-06-007-02; and, Attachment 1 to EO DE-06-007-03. | NA | NA | NA | NA | 85% | CARB Executive Order (DE-06-007 on 11-13-2006) Executive Order (DE-06-007-01 on 03-23-2007) Executive Order (DE-06-007-02 on 08-18-2008) Executive Order (DE-06-007-03 on 08-05-2009) | Thousands of applications primarily in Europe on buses, scrapers, forklifts & municipal vehicles. | 80 hp:; $7. 150 hp:; $12. 600 hp:; $35. |
|  | FS-MK (Active type) |  |  |  |  |  |  |  |  |  |
| Diesel Particulate Filter Level 3 Plus Retrofit | Miratech Emissions Solutions | For stationary emergency and prime generators. For those belonging to Engine Families listed in: Attachment 1 to EO DE-05-006; and, Attachment 1 to EO DE-05-006-01. | NA | NA | NA | NA | 85% | CARB Executive Order (DE-05-006 on 06-14-2006) Executive Order (DE-05-006-01 on 03-12-2009) | Unknown at this time | Not Available |
|  | CombiKat CBS Particulate Trap |  |  |  |  |  |  |  |  |  |
| Diesel Particulate Filter Level 3 Plus Retrofit | NETT Technologies | For Tier 1, Tier 2, or Tier 3 certified off-road engines used in stationary prime and emergency standby generators and pumps For those belonging to Engine Families listed in: Attachment 1 to EO DE-09-013. | NA | NA | NA | NA | 85% | CARB Executive Order (DE-09-013 on 07-13-2009) | Unknown at this time | Not Available |
|  | GreenTRAP |  |  |  |  |  |  |  |  |  |

| Diesel Particulate Filter Level 3 Plus Retrofit | Sud-Chemie | For Tier 1, Tier 2, or Tier 3 certified off-road engines used in stationary prime and emergency standby power generators and pumps For Engine Families listed in: Attachment 1 to EO DE-06-003-01. | NA | NA | NA | NA | 85% | CARB Executive Order (DE-06-003-01 on 12-31-2008) | Unknown at this time | Not Available |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Envi-Cat-DPF |  |  |  |  |  |  |  |  |  |
| Diesel Particulate Filter Level 3 Plus Retrofit | Teleflex | For certain APU, powered by select diesel engines for model years between 2005 and 2008 For those belonging to Engine Families listed in: Attachment 1 to CVL 08-661-363. | NA | NA | NA | NA | 85% | CARB Conditional Verification Letter (08-661-363 on 01-20-2009) | Unknown at this time | Not Available |
|  | Clear Sky (Active type) |  |  |  |  |  |  |  |  |  |
| Diesel Particulate Filter Level 3 Plus Retrofit | Thermo King | 2006 through 2008 engine model year diesel engines for Transport Refrigeration Units For those belonging to Engine Families listed in: Attachment 1 to CVL 08-661-279; and, Attachment 1 to CVL 08-661-399. | NA | NA | NA | NA | 85% | CARB Conditional Verification Letter (06-24-2008) Conditional Verification Letter (10-08-2008) | Unknown at this time | Not Available |
|  | eDPF (Active type) |  |  |  |  |  |  |  |  |  |
| Diesel Flow-Through Filter Level 2 Plus Retrofit; Proventia; 1985 through 2002 engine model year diesel engines for TRUs for FTF; or, 1987 through 2002 engine model year diesel engines for TRUs for Bobtail FTF Engine Families listed in: Attachment 1 to EO DE-08-001; Attachment 1 to EO DE-08-001-01; and, Attachment 1 to EO DE-08-001-02.; NA; NA; NA; NA; 50%; CARB Executive Order (DE-08-001 on 06-12-2008) Executive Order (DE-08-001-01 on 08-20-2008) Executive Order (DE-08-001-02 on 05-14-2009); Unknown at this time; Not Available. FTF or Bobtail FTF. |
| Diesel Multistage Filter Level 2 Plus Retrofit | Thermo King | 1985 through 2002 engine model year diesel engines for Transport Refrigeration Units For those belonging to Engine Families listed in Attachment 1 to DE-06-008-01 and Attachment 1 to DE-06-008-02. | NA | NA | NA | NA | 50% | CARB Executive Order (DE-06-008A on 01-31-2007) Executive Order (DE-06-008-01 on 07-26-2007) Executive Order (DE-06-008-02 on 12-21-2007) | Unknown at this time | $4.0 - $5.0 |
|  | PDPF Flow Through Filter |  |  |  |  |  |  |  |  |  |
| Diesel Oxidation Catalyst Level 2 Plus Retrofit | Engine Control Systems | Specific 1996 to 2002 model year engines For those belonging to Engine Families listed in: Attachment 1 to EO DE- DE-04-003; and, Attachment 1 to EO DE- DE-04-007.. | NA | NA | NA | NA | 50% | CARB Executive Order (DE-04-003 on 05-10-2004) Executive Order (DE-04-007 on 10-29-2004) | 960 units POLA & POLB: - Yard tractors - Top picks - Side picks - Large lift trucks | $0.9 - $4.5 |
|  | AZ Purimuffler or AZ Purifier |  |  |  |  |  |  |  |  |  |
| Diesel Particulate Filter Level 2 Plus Retrofit | Rypos | For certified Tier 1, Tier 2, or Tier 3 stationary engines for model years 1996 to 2008. For those belonging to Engine Families listed in: Attachment 1 to EO DE-05-013-01. | NA | NA | NA | NA | 50% | CARB Executive Order (DE-05-013-01 on 12-18-2008) | Unknown at this time | Not Available |
|  | ADPF (Active type) |  |  |  |  |  |  |  |  |  |
| Diesel Particulate Filter Level 2 Plus Retrofit | Rypos | For certain marine engines. For those belonging to Engine Families listed in: Attachment 1 to EO DE-09-006. | NA | NA | NA | NA | 50% | CARB Executive Order (DE-09-006 on 04-22-2008) | Unknown at this time | Not Available |
|  | ADPF (Active type) |  |  |  |  |  |  |  |  |  |
| Diesel Particulate Filter Level 2 Plus Retrofit | Rypos | For most trailer transport refrigeration units using 2002 and older model year engines For those belonging to Engine Families listed in: Attachment 1 to EO DE-09-001. | NA | NA | NA | NA | 50% | CARB Executive Order (DE-09-001 on 03-09-2009) | Unknown at this time | Not Available |
|  | DPF/LETRU |  |  |  |  |  |  |  |  |  |
| Diesel Oxidation Catalyst + Crankcase Filter Level 1 Plus Retrofit | Donaldson | 150 hp to 600 hp engines on: - Yard tractors - Large lift trucks - Top picks - Side picks - Gantry cranes Engine Families | NA | NA | NA | NA | 25% | CARB Verification Letter (05-02-2003) | 750 units POLA & POLB: - Top picks - Side picks - Rubber tire gantrys - Yard tractors | $4.0 - $5.0 |
|  | 6000 Series Catalyst + Spiracle |  |  |  |  |  |  |  |  |  |
| Diesel Oxidation Catalyst + Selective Catalytic Reduction Level 1 Plus Retrofit | Extengine | 1991 to 1995 Cummins 5.9 L (150 hp – 200 hp) engines on: - Rubber tired excavators - Rubber tired loaders - Rubber tired dozers - Yard tractors | NA4 | 80% | NA4 | NA | 25% | CARB Executive Order (DE-05-001 on 01-20-2005) | - 36 backhoes - 21 rubber-tired earth movers | $13 (plus ammonia replacement cost) |
|  | Advanced Diesel Emission Control (ADEC) System |  |  |  |  |  |  |  |  |  |
| Flywheel Energy Storage Level 1 Plus Retrofit | Vycon | Pre 1996 or certified to Tier 1, 2, or 3, > 50 hp engines on rubber-tire gantry cranes | NA | 30% | NA | NA | 25% | CARB Executive Order (DE-07-006 on 10-03-2007) Verification Letter (10-03-2007) | - 3 systems at POLB - 1 system at POLA plus 3 others to be installed in 2008 - 1 system in Incheon, Korea - 1 system in Shenzhen, China | $150 for system (plus $2.30 every 4 years to replace vacuum pump) |
|  | Regen System |  |  |  |  |  |  |  |  |  |

NA = Not Applicable (i.e., CARB has not verified that the technology can reduce emissions for this contaminant).

Plus = Indicates 2009 N02 compliance

POLA = Port of Los Angeles     POLB = Port of Long Beach

__________________________

1 Certified or verified control efficiency established by the verifying or certifying agency.  For CEQA mitigation purposes, the lowest emission reduction must be used unless greater emission reductions can be demonstrated (e.g. manufacturer guarantee). For more information on CARB’s list of verified Levels 1, 2, and 3 retrofit devices, refer to the Currently Verified Technologies page at http://www.arb.ca.gov/diesel/verdev/vt/cvt.htm.

2 Specific project or location where retrofit has been achieved in practice.

3 For Cost estimates are for informational purposes only and have been provided by control technology manufacturers.  Actual costs may vary; estimates based on 2006 dollars.

4 Vendor reports that control technology reduces CO and VOC by 90% each.  However, these reductions are not verified by CARB. AQMD may consider these as mitigation upon contractual vendor guarantee.